# Mercury Minimization Plan Template

Version 3.0

Published Oct. 13, 2025

This document was prepared by

Oregon Department of Environmental Quality

Water Quality Division

700 NE Multnomah Street, Suite 600

Portland Oregon, 97232

Contact: Erich Brandstetter

Phone: 503-229-5047

Oregon Department of Environmental Quality website

Non-discrimination statement

DEQ does not discriminate on the basis of race, color, national origin, disability, age, sex, religion, sexual orientation, gender identity, or marital status in the administration of its programs and activities.

For translation or other formats, visit DEQ’s Civil Rights and Environmental Justice page.

- Table of contents

1.	Purpose 	4

2.	Domestic MMP template	5

3.	Industrial MMP template including instructions	20

4.	Industrial Facilities in WRB	30

5.	Mining activities in the WRB that are potential sources of mercury	32

6.	Record of revisions	37

Table of tables

Table 2-1: Facility Information	5

Table 2-2 : Mercury source summary	6

Table 2-3: Summary of Mercury Source Reduction and Source Control Activities During Previous Permit Term	8

Table 2-4 : Mercury Minimization Implementation Plan Summary	11

Table 2-5: Changes to source categories affecting mercury in the last permit cycle	12

Table 2-6: Mercury monitoring within the last 5 years	15

Table 2-7A - 7C: Average mercury concentrations and loads:	16

Table 2-8A - 8C: Mercury averages over previous permit terms	17

Table 2-9: Other (describe) mercury monitoring within the last 5 years – calendar month average	17

Table 2-10: Other Monitoring for Mercury (if applicable)	18

Table 3-1: Facility Information	20

Table 3-2: Source Summary	21

Table 3-3: Summary of Mercury Source Reduction and Source Control Activities During Previous Permit Term	22

Table 3-4: Mercury Minimization Implementation Plan Summary	23

Table 3-5: Changes to source categories affecting mercury in the last permit cycle	23

Table 3-6: Mercury monitoring within the last 5 years	26

Table 3-7A - 7C : Average mercury concentrations and loads	27

Table 3-8A - 8C : Mercury averages over previous permit terms	28

Table 3-9: Industrial facilities	30

Table 3-10: Potential sources	32

# Purpose

This document includes the Oregon Department of Environmental Quality’s recommended Mercury Minimization Plan (MMP) template for NPDES permit compliance (an alternate format may be used with DEQ prior approval). The goals of this template are to:

- Help ensure applicants submit all the required component.

- Speed up the process of organizing and understanding your mercury data.

- Allow DEQ to review your plan more quickly.

If an MMP is required under a variance or Total Maximum Daily Load, there may be additional requirements not addressed in this template. If any additional requirements or other elements are required in the issued permit associated with this submission, those elements must also be included in the MMP submittal.

MMPs include the following elements:

- Facility name and permit number.

- Name and signature of party responsible for developing or reviewing the plan.

- Plan submittal date.

- Identification and evaluation of current and potential mercury sources (for domestic facilities this includes industrial, commercial, and residential sources).

- Summary and evaluation of past mercury reduction activities.

- An implementation plan that includes specific methods for reducing mercury.

- A summary of mercury sample results for samples collected during the past five years, if applicable.

- Annual average effluent mercury concentrations and mass loads, if applicable.

- Annual average biosolids concentrations and mass loads, if applicable.

- For updates: changes (if any) that may affect mercury, such as changes to operations, treatment, and chemicals used.

- For updates: summary of mercury reduction activities implemented during the past five years.

The template below is organized with instructions, required reporting elements, and optional reporting elements. The optional reporting elements are not required and may be evaluated for their relevance to the specific facility. After you’re finished using the instructions, delete all instructions before submitting. Do not submit the instructions with the report.

Two templates are contained within this document. One is specific to facilities that treat domestic wastewater, called the Domestic MMP Template. The other is specific to industrial facilities that do not have domestic wastewater in the waste stream, called the Industrial MMP Template. Additional elements may be included to address facility-specific needs or to enhance the completeness of the report. However, the required elements must remain intact and must not be omitted under any circumstances, as they are essential for meeting compliance and reporting standards.

# Domestic Mercury Minimization Plan Template

## Facility information

### Instructions

Enter your facility information into the required table. Additional facility information may be included but is not required.

If someone other than the Responsible Official prepared this report, include their contact information under Preparer. The Responsible Official is the facility’s designated individual who has signing and submission authority in NetDMR or YDO. The Legal Contact is the person that receives official correspondence from DEQ, such as renewal notices or notices of noncompliance, and may be contacted if there are questions about this application. The legal contact can authorize others to sign NPDES-related reports or information submitted to DEQ.

#### Required

Table 2-1: Facility Information

| Date prepared: |  |
| --- | --- |
| Facility name: |  |
| Facility address: |  |
| City: |  |
| Zip code: |  |
| Preparer’s name: |  |
| Preparer’s organization: |  |
| Preparer’s phone: |  |
| Preparer’s email: |  |
| Responsible official: |  |
| RO phone: |  |
| RO email: |  |
| Legal contact: |  |
| Legal contact phone |  |
| Legal contact email |  |

#### Optional

The plan optionally may provide additional background for interested parties who review the MMP. This information can provide context to the reader about how the MMP fits into the wastewater treatment plant’s NPDES permit and community services. This may include:

- Number and size of wastewater treatment facilities

- Number of customers served

- Map of service territory (if available)

- Date of wastewater permit issuance and expiration

- MMP permit condition in the NPDES permit

## Identification and evaluation of mercury sources

### Instructions

In this section, identify and evaluate current and potential mercury sources. Permittees may wish to conduct their Industrial User Survey concurrently with the information used for both the industrial user survey and the MMP. Include industrial, commercial, and residential sources such as dental facilities, medical facilities, schools, laboratories, HVAC, industrial facilities, and other facilities that may contribute mercury. Additionally, the industrial categories of timber products, paper products, chemical products, glass, clay, cement, concrete and gypsum products, primary metal industries, fabricated metal products, and electronic instruments were determined by DEQ to have potential for mercury in discharge. These categories correspond to SICs in the 2400, 2600, 2800, 3200, 3300, 3400, and 3600 series. Include facilities in these categories in your potential source list. DEQ compiled a list of Willamette Basin facilities in these categories (Section 4). DEQ has not created lists for areas outside of the Willamette Basin. Also include any current or historic mining activities that may be potential sources of mercury. DEQ compiled list of mining activities in the Willamette Basin that are potential sources of mercury (Section 5).

The table below provides the list of required categories. Categories may be expanded or divided into additional categories (see optional below).

Along with the source summary table, include a narrative description and evaluation of all current and potential sources. For those marked ‘None Identified’, describe if more information is needed to determine if those sources are present or if there are no sources.

#### Required

Table 2-2 : Mercury source summary

| Source categories | Current | None | Potential | Total | Commercial/ Residential | Industrial |
| --- | --- | --- | --- | --- | --- | --- |
| Dental |  |  |  |  | X |  |
| Medical |  |  |  |  | X |  |
| Schools |  |  |  |  | X |  |
| HVAC |  |  |  |  | X |  |
| Laboratories |  |  |  |  |  | X |
| Timber products |  |  |  |  |  | X |
| Paper products |  |  |  |  |  | X |
| Chemical products |  |  |  |  |  | X |
| Glass |  |  |  |  |  | X |
| Clay |  |  |  |  |  | X |
| Concrete |  |  |  |  |  | X |
| Gypsum products |  |  |  |  |  | X |
| Primary metal industries |  |  |  |  |  | X |
| Fabricated metal products |  |  |  |  |  | X |
| Electronic instruments |  |  |  |  |  | X |
| Current or historic mining activities |  |  |  |  |  | X |

#### Optional

An additional description of the relative contributions of various mercury sources, as well as an understanding of the nature of WWTPs as pathways and not sources of mercury, may be included but are not required. Additional categories to include in the table above, if relevant, could include:

- Additional medical subcategories – hospitals, clinics, nursing homes, veterinarians

- Additional school subcategories – secondary, colleges, technical, laboratories at schools

- Thermostats, wholesalers, contractors, retail stores

- Residential

- Collection system and/or septage

- New and emerging commercial and institutional sources of mercury identified during the permit term

- General public

- Automobile and appliance switched

## Summary and evaluation of mercury reduction activities implemented during the last 5 years

### Instructions

This section is required for MMP updates. However, new (first time) MMPs can include mercury reduction activities that occurred prior to writing the new MMP.

The goal of this section is to summarize all mercury reduction activities during the last five years and to evaluate the effectiveness of those actions. The effectiveness of ongoing and past mercury reduction activities can be measured by both activity outputs and environmental outcomes over time.

If activity occurring in earlier permit terms provides useful historical context, it can be included in the summary, with the years of activity indicated. If no MMP requirements were contained in the previous NPDES wastewater permit, there may be very few or no past mercury minimization activities to describe. Some mercury reduction and source control measures may have been implemented without permit requirements and can be included in this summary.

Organize this section using the same categories used in ‘Identification and Evaluation of Mercury Sources’. If additional categories were created beyond the minimum, include them in this section.

If the mercury minimization action described is associated with an approved pretreatment program, briefly describe the scope of the approved pretreatment program and mercury minimization action. If the pretreatment program has produced other reports and plans that describe mercury related activities, summarize and reference the reports and plans here.

If the facility does not have a pretreatment program: For Dental Offices, include the number of One-time Dental Discharge Reports sent out, and the number received back by the Control Authority, as described in 40 CFR 441.30(a)(2)(viii). This rule applies to all offices that discharge to a publicly owned treatment work, including large institutions such as dental schools and clinics where dentistry is practiced. It does not apply to mobile units or offices where the practice of dentistry consists only of the following dental specialties: oral pathology, oral and maxillofacial radiology, oral and maxillofacial surgery, orthodontics, periodontics, or prosthodontics. Review the EPA model One-time Dental Discharge Report online.

If the facility does have a pretreatment program, and this information has already been submitted to DEQ, then simply state that in the report.

For commercial and industrial sources (or potential sources), provide a narrative summary of the types of mercury reduction activities, including information on the scope and extent of those activities, such as:

The number of facility inspections or technical assistance visits and the number of facilities implementing recommended BMPs;

The number of facility surveys sent and received, and the level of BMP implementation reported;

The quantity of mercury collected and recycled from school lab cleanouts;

The number of businesses receiving mercury BMP literature; and the number of mercury BMP website visits

Capture these activity output descriptions in a simple table format, such as the example included in the REQUIRED section below. Include a brief qualitative evaluation of:

Actions that were deemed successful in meeting goals (and why),

Actions that were not as effective in meeting goals (and why).

How did the outcomes of actions inform this MMP update?

If sufficient monitoring data has been collected over time to show declining trends in mercury influent and effluent concentrations or mass loads, a narrative reference to those trends can be made here to illustrate environmental outcomes associated with mercury reduction activities. The complete summary of past monitoring data is reported in a different section.

#### Required

Table 2-3: Summary of Mercury Source Reduction and Source Control Activities During Previous Permit Term

| Source categories | Activity | Performance metrics | Commercial / Residential | Industrial |
| --- | --- | --- | --- | --- |
| Dental |  |  | X |  |
| Medical |  |  | X |  |
| Schools |  |  | X |  |
| HVAC |  |  | X |  |
| Laboratories |  |  | X |  |
| Timber products |  |  |  | X |
| Paper products |  |  |  | X |
| Chemical products |  |  |  | X |
| Glass |  |  |  | X |
| Clay |  |  |  | X |
| Concrete |  |  |  | X |
| Gypsum products |  |  |  | X |
| Primary metal industries |  |  |  | X |
| Fabricated metal products |  |  |  | X |
| Electronic instruments |  |  |  | X |
| Current or historic mining activities |  |  |  | X |

#### Optional

The categories in the table above may be removed or expanded upon. However, at a minimum, include dental, medical, schools, laboratories, HVAC, industrial facilities, mining sources, and other facilities that may contribute mercury. Additional categories to include in the table above, if relevant, could include:

- Additional medical subcategories – hospitals, clinics, nursing homes, veterinarians

- Additional school subcategories – secondary, colleges, technical, laboratories at schools

- Thermostats, wholesalers, contractors, retail stores

- Residential

- Collection system and/or septage

- New and emerging commercial and institutional sources of mercury identified during the permit term

- General public

- Automobile and appliance switches

## Implementation plan for mercury minimization

### Instructions

Design the plan for the next five years or longer. If a municipality proposes decreasing or discontinuing activities included in an approved plan prior to the next plan update, a permit modification is required. This may incur a plan review and modification fee depending on the timing and extent of the modification. Therefore, design flexibility and adaptive management into the implementation plan to ensure that resources or efforts can be shifted during the five-year period to other activities that may yield more mercury reductions without requiring a change to the NPDES permit. For instance, if there is a high likelihood that secondary school outreach actions and waste collections will be completed within three years, the implementation plan should indicate that resources will (or may) be shifted in the fourth and fifth year of the plan to other specific business sectors or residential source reduction actions. In addition, the plan can also state that if new and emerging sources of mercury are identified during the permit term, source reduction and control actions will be initiated for new (currently unknown) sources, assuming the other actions in the MMP are completed. Additional source reduction and control actions that go above and beyond what is included in the plan can always be pursued without a permit modification.

The implementation plan must include:

- Mercury reduction strategies for all relevant source categories described in Tables 2-2 and 2-3.

- A timeline for implementing those strategies; including milestones to review the reduction goals and strategies to determine if changes are needed.

- An explanation of the selection process for reduction strategies, timelines, or milestones. When applicable, explain why one option was chosen over another.

- If there is an approved pretreatment program, briefly reference the program and how it will address mercury. For example, updates to local limits for mercury should be mentioned here, as well as a general description of associated monitoring and source control actions.

If any of the source categories listed are not present in the service area, then indicate so in the report.

Provide answers to the following questions:

- Will the planned strategies reduce total mercury to achieve your goal?

- If a phased implementation is planned, why?

- Will additional information be collected before finalizing the MMP?

- How will goals and milestones be assessed at milestone dates?

- What is the potential for new mercury contributions from domestic or business sources?

- What is the potential for increases from existing sources?

In addition, if an MMP was implemented during the previous permit cycle, a brief overview of the rationale for the following types of plan changes (if applicable) may be included:

- Discontinuation of action included in the previous permit cycle due to lack of effectiveness or diminishing environmental benefit.

- Modifications to actions that are continuing from the previous permit cycle to increase effectiveness.

Include Table 2-4 in the plan, modified as needed for relevant plan activities. If an item is short-term (for example, it will be completed in 2 years), or will be phased out, the information can be described in the table or in accompanying text. If the table format is impractical, provide the information in narrative, with a paragraph dedicated for each source. The categories in the table below may be removed or expanded upon if relevant. However, at a minimum, include dental, medical, schools, laboratories, HVAC, industrial facilities, mining sources, and other facilities that may contribute mercury.

#### Required

The table below summarizes actions that <facility> will take to reduce or control mercury discharges to wastewater from common commercial, institutional, and industrial sectors.

Table 2-4 : Mercury Minimization Implementation Plan Summary

| Source categories | Activity | Timeline start/stop date | Performance measures | Goal | Commercial/ Residential | Industrial |
| --- | --- | --- | --- | --- | --- | --- |
| Dental |  |  |  |  | X |  |
| Medical |  |  |  |  | X |  |
| Schools |  |  |  |  | X |  |
| HVAC |  |  |  |  | X |  |
| Laboratories |  |  |  |  | X |  |
| Timber products |  |  |  |  |  | X |
| Paper products |  |  |  |  |  | X |
| Chemical products |  |  |  |  |  | X |
| Glass |  |  |  |  |  | X |
| Clay |  |  |  |  |  | X |
| Concrete |  |  |  |  |  | X |
| Gypsum products |  |  |  |  |  | X |
| Primary metal industries |  |  |  |  |  | X |
| Fabricated metal products |  |  |  |  |  | X |
| Electronic instruments |  |  |  |  |  | X |
| Current or historic mining activities |  |  |  |  |  | X |

#### Optional

The categories in the table above may be removed or expanded upon. However, at a minimum, include dental, medical, schools, laboratories, HVAC, industrial facilities, mining sources, and other facilities that may contribute mercury. Additional categories to include in the table above, if relevant, could include:

- Additional medical subcategories – hospitals, clinics, nursing homes, veterinarians

- Additional school subcategories – secondary, colleges, technical, laboratories at schools

- Thermostats, wholesalers, contractors, retail stores

- Residential

- Collection system and/or septage

- New and emerging commercial and institutional sources of mercury identified during the permit term

- General public

- Automobile and appliance switches

## Facility changes

### Instructions

This section is not required if this is the first MMP for the facility, unless a condition was included in Schedule A of the permit that requires this section to be included in the MMP.

Provide a brief description of any changes in the facility, collection system, or operational processes during the previous permit cycle related to mercury discharges and management, including notable changes in industrial, commercial, or institutional users of mercury or their mercury discharges. Information for this summary can be drawn from other permit documents but include a full citation of the referenced document(s).

In Table 2-5, summarize any changes to source categories of mercury that have occurred over the previous permit term as well as any necessary narrative description related to changes that have occurred. If there were no changes, mark No.

Also summarize changes at the wastewater treatment plant site and collection and conveyance system. The purpose of this section is to summarize activities that the permittee is implementing, or will implement, to reduce the risk of mercury releases to wastewater through facility or system operations. Describe the activities and operating procedures implemented within the wastewater system collection, conveyance, and treatment operations that reduce the risk of mercury discharges to the facility and reduce the likelihood of methylation of mercury within the system.

Required

Table 2-5: Changes to source categories affecting mercury in the last permit cycle

| Source categories | Yes | No | Description of change |
| --- | --- | --- | --- |
| Facility |  |  |  |
| Collection system |  |  |  |
| Change of industrial user |  |  |  |

## Report on past mercury monitoring and summary data statistics

### Instructions

Schedule A of a permit containing MMP requirements typically requires reporting of mercury monitoring results for the last 5 years . The permit will also require mercury monitoring during the permit term, which can be reported in this section. If additional mercury monitoring was done that meets the method and quantitation limit (QL) for NPDES permits, then that data must also be reported. Refer to the permit for the minimum requirements to include in this section. Greater than 5 years of data can be reported if relevant.

If this is the first MMP for the facility and data was collected prior, then that data must be reported here.

Report:

- Mercury sample results for the last 5 years (all results for effluent, calendar month average for influent)

- Annual average mercury concentrations and mass loads

- Annual average biosolids concentrations and mass loads

For Table 7, the required formatting is the same as the Electronic Data Delivery (EDD) formatting used by DEQ for priority pollutant and Copper/Al BLM submissions. An example of formatting is provided.

Ensure that sample results have met the QL based on DEQ’s guidance.

Provide a narrative description of sample results. In particular, if sample results did not meet the QL or were otherwise qualified, explain why and what efforts were made to improve data quality.

For Table 8:

To calculate mercury effluent mass loads, convert the mercury concentration to mg/L:

MLe lbsyear=Qe million gallonsday⋅Cemgliter⋅8.34 lb⋅litermilligram⋅millions of gallons∙365 days year

Where:

MLe is the annual effluent mass load (lb/year)

Qe is the annual daily average effluent flow (MGD)

Ce is the annual average mercury concentration (mg/L)

8.34 = conversion factor lb⋅litermilligram⋅millions of gallons

(the weight of one gallon of water in pounds)

To calculate influent mass loads, perform the same calculation with the associated data.

To calculate mercury biosolids mass loads,

MLB lbyear=QB dry U.S. tonsyear⋅CBmgkg dry weight⋅0.002

Where:

MLB = annual biosolids mass load (lb/year)

QB = annual total biosolids (dry U.S. tons/year)

CB = average biosolids mercury concentration (mg/kg dry weight) and the conversion factor is derived as follows:

1 U.S. ton1 year ∙2000 lb1 U.S. ton∙1 mg1 kg ∙ 1 kg2.2 lb∙1 lb453, 592 mg=0.002 lbyear

- Other units may be used if they are consistent for all data reported (for example, using kg/hectare and metric tons/hectare for biosolids).

#### Required

Table 2-6: Mercury monitoring within the last 5 years

| Monitoring location ID | Sample collection date | Activity | Result value | Result unit | Detection limit value | Detection limit unit | Reporting limit value | Reporting limit unit | Laboratory name | Lab sample ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 001 | YYYY/MM/DD | Sample | <MDL | µg/L | MDL | µg/L | MRL | µg/L | TestLabA | L240156 |
| 001 | 2024/01/15 | Sample | <0.0005 | µg/L | 0.0005 | µg/L | 0.001 | µg/L | TestLabA | L240156 |
| 001 | 2024/01/15 | Field Blank | <0.0005 | µg/L | 0.0005 | µg/L | 0.001 | µg/L | TestLabA | L240157 |

Table 2-7A - 7C: Average mercury concentrations and loads:

2-7A: Influent

| Year | Flow (MGD) | Conc (µg/l) | Mass (lbs.) |
| --- | --- | --- | --- |

2-7B: Effluent

| Year | Flow (MGD) | Conc (µg/l) | Mass (lbs.) |
| --- | --- | --- | --- |

2-7C: Biosolids

| Year | Flow (MGD) | Conc (µg/l) | Mass (lbs.) |
| --- | --- | --- | --- |

#### Optional

DEQ may request lab reports, quality assurance/quality control (QA/QC) data, or other field data sheets associated with the data collection if not provided.

For facilities that have been conducting mercury monitoring over multiple permit terms, it may be beneficial to show long-term trends by summarizing average data for each of those five-year periods. The optional table below provides a template for summarizing this data. If appropriate, these data trends can also be referenced when discussing the outputs and outcomes of past mercury reduction activities. For “permit term” entries, indicate the years covered by the permit term (for example, 2016-2021).

Table 2-8A - 8C: Mercury averages over previous permit terms

2-8A: Average total mercury concentrations

| Time period | Influent (µg/l) | Effluent (µg/l) | Removal % | Biosolids (mg/kg) |
| --- | --- | --- | --- | --- |
| Permit term 1 |  |  |  |  |
| Permit term 2 |  |  |  |  |
| Permit term 3 |  |  |  |  |

2-8B: Average rates

| Time period | Influent (µg/l) | Effluent (µg/l) | Removal % | Biosolids (mg/kg) |
| --- | --- | --- | --- | --- |
| Permit term 1 |  |  |  |  |
| Permit term 2 |  |  |  |  |
| Permit term 3 |  |  |  |  |

2-8C: Average loads

| Time period | Influent (µg/l) | Effluent (µg/l) | Removal % | Biosolids (mg/kg) |
| --- | --- | --- | --- | --- |
| Permit term 1 |  |  |  |  |
| Permit term 2 |  |  |  |  |
| Permit term 3 |  |  |  |  |

If other mercury monitoring was conducted that was relevant to the plan it could be summarized using the following table(s):

Table 2-9: Other (describe) mercury monitoring within the last 5 years – calendar month average

| Summary month/year | Average total mercury | Result unit |
| --- | --- | --- |

Table 2-10: Other Monitoring for Mercury (if applicable)

| Monitoring location ID | Sample collection date | Activity type | Result value | Result unit | Detection limit value | Detection limit unit | Reporting limit value | Reporting limit unit | Laboratory name | Lab sample ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 009 | YYYY/MM/DD | Sample | <MDL | µg/L | MDL | µg/L | MRL | µg/L | TestLabA | L240156 |
| 009 | 2024/01/15 | Sample | <0.0005 | µg/L | 0.0005 | µg/L | 0.001 | µg/L | TestLabA | L240156 |
| 009 | 2024/01/15 | Field Blank | <0.0005 | µg/L | 0.0005 | µg/L | 0.001 | µg/L | TestLabA | L240157 |

## Certification

### Instructions

The plan must be signed by the preparer or authorized agent (if different), to certify the following:

#### Required

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

| Preparer’s printed name | Title |
| --- | --- |
| Signature | Date |
| Phone | Email |

| Authorized agent printed name | Title |
| --- | --- |
| Signature | Date |
| Phone | Email |

# Industrial MMP template including instructions

## Facility information

### Instructions

Enter your facility information into the required table. Additional facility information may be included but it not required.

If someone other than the Responsible Official prepared this report, include their contact information under Preparer. The Responsible Official is the facility’s designated individual who has signing and submission authority in NetDMR or YDO. The Legal Contact is the person that receives official correspondence from DEQ, such as renewal notices or notices of noncompliance, and may be contacted if there are questions about this application. The legal contact can authorize others to sign NPDES-related reports or information submitted to DEQ.

#### Required

Table 3-1: Facility Information

| Date prepared: |  |
| --- | --- |
| Facility name: |  |
| Facility address: |  |
| City: |  |
| Zip code: |  |
| Preparer’s name: |  |
| Preparer’s organization: |  |
| Preparer’s phone: |  |
| Preparer’s email: |  |
| Responsible official: |  |
| RO phone: |  |
| RO email: |  |
| Legal contact: |  |
| Legal contact phone |  |
| Legal contact email |  |

## Identification and evaluation of mercury sources

### Instructions

In this section, identify and evaluate current and potential mercury sources. List potential sources in a table and provide a brief description for each.

#### Required

Table 3-2: Source Summary

| Source categories | Description |
| --- | --- |
| Source 1 |  |
| Source 2 |  |
| Source 3 |  |

Along with the source summary table, include a narrative description and evaluation of all current and potential sources.

## Summary and evaluation of mercury reduction activities implemented during the last five years

### Instructions

This section is required for MMP updates. However, new (first time) MMPs can include mercury reduction activities that occurred prior to writing the new MMP.

The goal of this section is to summarize all mercury reduction activities during the last five years, and to evaluate the effectiveness of those actions. The effectiveness of ongoing and past mercury reduction activities can be measured by both activity outputs and environmental outcomes over time.

If activity occurring in earlier permit terms provides useful historical context, it can be included in the summary, with the years of activity indicated. If no MMP requirements were contained in the previous NPDES wastewater permit, there may be very few or no past mercury minimization activities to describe. Some mercury reduction and source control measures may have been implemented without permit requirements and can be referenced in this summary.

Organize this section using the same categories used in ‘Identification and Evaluation of Mercury Sources’.

Capture these activity output descriptions in a simple table format, such as the example included in the REQUIRED section below. Include a brief qualitative evaluation of:

- Actions that were deemed successful in meeting goals (and why).

- Actions that were not as effective in meeting goals (and why).

- How did the outcomes of actions inform this MMP update?

If monitoring data was collected over time showing trends in mercury influent and effluent concentrations or mass loads, include a narrative reference to those trends illustrating environmental outcomes associated with mercury reduction activities. The complete summary of past monitoring data is reported in a different section.

#### Required

Table 3-3: Summary of Mercury Source Reduction and Source Control Activities During Previous Permit Term

| Source categories | Activity | Performance metrics |
| --- | --- | --- |
| Source 1 |  |  |
| Source 2 |  |  |
| Source 3 |  |  |

## Implementation plan for mercury minimization

### Instructions

Design the MMP for the next five years or longer. If a permittee proposes decreasing or discontinuing activities included in an approved plan prior to the next plan update, a permit modification is required. This may incur a plan review and modification fee depending on the timing and extent of the modification. Therefore, design flexibility and adaptive management into the implementation plan to ensure that resources or efforts can be shifted during the five-year period to other activities that may yield more mercury reductions without requiring a change to the NPDES permit. In addition, the plan can also state that if new sources of mercury are identified during the permit term, source reduction and control actions will be initiated. Additional source reduction and control actions that go above and beyond what is included in the plan can always be pursued without a permit modification.

The implementation plan must include:

- Mercury reduction strategies for all relevant sources as described in Tables 2 and 3

- A timeline for implementing those strategies; including milestones to review the reduction goals and strategies to determine if changes are needed

- An explanation of why those reduction strategies, timelines, or milestones were selected. When applicable, explain why one option was chosen over another.

Provide answers to the following questions:

- Will all the strategies combined reduce total mercury to achieve your goal?

- If a phased implementation is planned, why?

- Will additional information be collected before finalizing the MMP?

- How will goals and milestones be assessed at milestone dates?

- What is the potential for new mercury contributions?

- What is the potential for increases from existing sources?

In addition, if an MMP was implemented during the previous permit cycle, a brief overview of the rationale for the following types of plan changes (if applicable) may be included:

- Discontinuation of action included in the previous permit cycle due to lack of effectiveness or diminishing environmental benefit.

- Modifications to actions that are continuing from the previous permit cycle to increase effectiveness.

Include Table 3-4 in the plan, modified as needed for relevant plan activities. If an item is short-term (for example, it will be completed in 2 years) or will be phased out, the information can be described in the table or

in accompanying text. If the table format is impractical, provide the information in narrative, with a paragraph for each source.

#### Required

Table 3-4: Mercury Minimization Implementation Plan Summary

| Source categories | Activity | Timeline start/stop date | Performance measures | Goal |
| --- | --- | --- | --- | --- |
| Source 1 |  |  |  |  |
| Source 2 |  |  |  |  |
| Source 3 |  |  |  |  |

## Facility changes

### Instructions

This section is not required if this is the first MMP for the facility, unless a condition was included in Schedule A of the permit requiring this section be included.

Provide a brief description of any changes in the facility, collection system, or operational processes during the previous permit cycle related to mercury discharges and management. Information for this summary can be drawn from other permit documents but include a full citation of the referenced document(s).

In Table 5, summarize any changes to source categories of mercury that have occurred over the previous permit term as well as any necessary narrative description related to changes that have occurred. If there were no changes, mark No

#### Required

Table 3-5: Changes to source categories affecting mercury in the last permit cycle

| Source categories | Changes? (yes/no) | Description of change |
| --- | --- | --- |
| Source 1 |  |  |
| Source 2 |  |  |
| Source 3 |  |  |

## Report on past mercury monitoring and summary data statistics

### Instructions

Schedule A of a permit containing MMP requirements typically requires reporting of mercury monitoring results for the last 5 years. The permit will also require mercury monitoring during the permit term, which can be reported on in this section. If additional mercury monitoring was done that meets the method and quantitation limit (QL) for NPDES permits, then that data must also be reported. Refer to the permit for the minimum requirements to include in this section. Greater than 5 years of data can be reported if relevant.

If this is the first MMP for the facility and data was collected prior, then that data must be reported here.

Report:

- Mercury sample results for the last 5 years

- Annual average mercury concentrations and mass loads

- Annual average biosolids concentrations and mass loads (only if there is a relevant industrial biosolids plan for the facility)

In Table 7, the formatting required is the same as the Electronic Data Delivery (EDD) formatting used by DEQ for priority pollutant and Copper/Al submissions. An example of formatting is provided.

Ensure that sample results have met the QL based on DEQ’s guidance.

Provide a narrative description of sample results. In particular, if sample results did not meet the QL or were otherwise qualified, explain why and what efforts were made to improve data quality.

For Table 3-6

- Delete sections for influent and biosolids if not applicable

- To calculate mercury effluent mass loads, convert the mercury concentration to mg/L:

MLe lbsyear=Qe million gallonsday⋅Cemgliter⋅8.34 lb⋅litermilligram⋅millions of gallons∙365 days year

Where:

MLe is the annual effluent mass load (lb/year)

Qe is the annual daily average effluent flow (MGD)

Ce is the annual average mercury concentration (mg/L)

8.34 = conversion factor lb⋅litermilligram⋅millions of gallons

(the weight of one gallon of water in pounds)

- To calculate influent mass loads, perform the same calculation with the associated data.

- To calculate mercury biosolids mass loads,

MLB lbyear=QB dry U.S. tonsyear⋅CBmgkg dry weight⋅0.002

Where:

MLB = annual biosolids mass load (lb/year)

QB = annual total biosolids (dry U.S. tons/year)

CB = average biosolids mercury concentration (mg/kg dry weight)

And the conversion factor is derived as follows:

1 U.S. ton1 year ∙2000 lb1 U.S. ton∙1 mg1 kg ∙ 1 kg2.2 lb∙1 lb453, 592 mg=0.002 lbyear

- Other units may be used if they are consistent for all data reported (for example, using kg/hectare and metric tons/hectare for biosolids)

DEQ may request lab reports, quality assurance/quality control (QA/QC) data, or other field data sheets associated with the data collection if not provided.

#### Required

Table 3-6: Mercury monitoring within the last 5 years

| Monitoring location ID | Sample collection date | Activity | Result value | Result unit | Detection limit value | Detection limit unit | Reporting limit value | Reporting limit unit | Laboratory name | Lab sample ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 001 | YYYY/MM/DD | Sample | <MDL | µg/L | MDL | µg/L | MRL | µg/L | TestLabA | L240156 |
| 001 | 2024/01/15 | Sample | <0.0005 | µg/L | 0.0005 | µg/L | 0.001 | µg/L | TestLabA | L240156 |
| 001 | 2024/01/15 | Field Blank | <0.0005 | µg/L | 0.0005 | µg/L | 0.001 | µg/L | TestLabA | L240157 |

Table 3-7A - 7C : Average mercury concentrations and loads

3-7A: Influent

| Year | Flow | Conc | Mass |
| --- | --- | --- | --- |

3-7B: Effluent

| Year | Flow | Conc | Mass |
| --- | --- | --- | --- |

3-7C: Biosolids

| Year | Flow | Conc | Mass |
| --- | --- | --- | --- |

#### Optional

For facilities that have been conducting mercury monitoring over multiple permit terms, it may be beneficial to show long-term trends by summarizing average data for each of those five-year periods. The optional table below provides a template for summarizing this data. If appropriate, these data trends can also be referenced when discussing the outputs and outcomes of past mercury reduction activities. For “permit term” entries, indicate the years covered by the permit term (for example, 2016-2021).

Table 3-8A - 8C: Mercury averages over previous permit terms

3-8A: Average total mercury concentrations

| Time Period | Influent (µg/l) | Effluent (µg/l) | Removal % | Biosolids (mg/kg) |
| --- | --- | --- | --- | --- |
| Permit term 1 |  |  |  |  |
| Permit term 2 |  |  |  |  |
| Permit term 3 |  |  |  |  |

3-8B: Average rates

| Time Period | Influent (µg/l) | Effluent (µg/l) | Removal % | Biosolids (mg/kg) |
| --- | --- | --- | --- | --- |
| Permit term 1 |  |  |  |  |
| Permit term 2 |  |  |  |  |
| Permit term 3 |  |  |  |  |

3-8C: Average loads

| Time Period | Influent (µg/l) | Effluent (µg/l) | Removal % | Biosolids (mg/kg) |
| --- | --- | --- | --- | --- |
| Permit term 1 |  |  |  |  |
| Permit term 2 |  |  |  |  |
| Permit term 3 |  |  |  |  |

## Certification

### Instructions

The plan must be signed by the preparer or authorized agent (if different), to certify the following:

#### Required

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

| Preparer’s printed name | Title |
| --- | --- |
| Signature | Date |
| Phone | Email |

| Authorized agent printed name | Title |
| --- | --- |
| Signature | Date |
| Phone | Email |

# Industrial Facilities in Willamette River Basin

Summary of Individual NPDES-Permitted Industrial Facilities in the Willamette River Basin with Activities that Could Contribute Mercury to Their Discharge (Revised Willamette Basin Mercury TMDL, Table 9-4). Note that this list is from the TMDL, and additional industrial dischargers may have started, changed, or stopped operation since its issuance.

Table 3-9: Industrial facilities

| Facility name | SIC major group | Facility activity | EPA class | Receiving water | EPA # | DEQ permit # |
| --- | --- | --- | --- | --- | --- | --- |
| Cascade Pacific Pulp, LLC | 26 | Bleached Kraft Pulp Mill | Major | Willamette River | OR0001074 | 101114 |
| Georgia-Pacific - Halsey Mill | 26 | Secondary Fiber Pulp & Paper Mill | Major | Willamette River | OR0033405 | 101488 |
| International Paper Co - Springfield Mill | 26 | Unbleached Kraft Pulp & Paper Mill | Major | McKenzie River | OR0000515 | 101081 |
| Oregon Metallurgical, LLC - Ati Albany | 33 | Titanium Manufacturing & Forming | Major | Oak Creek | OR0001716 | 102223 |
| TDY Industries, LLC - Teledyne Wah Chang | 33 | Zirconium Production | Major | Truax Creek | OR0001112 | 100522 |
| West Linn Paper Company (Not Operating) | 26 | Paper Manufacturing | Major | Willamette River | OR0000787 | 100976 |
| Westrock, Newberg Mill (Not Operating) | 26 | Fiber Deink Pulp & Paper Mill | Major | Willamette River | OR0000558 | 101299 |
| Ash Grove Cement - Rivergate Lime Plant | 32 | Lime | Minor | Willamette River | OR0001601 | 102465 |
| Cascade Steel | 33 | Blast Furnaces & Steel Mills | Minor | South Yamhill River | OR0027260 | 101487 |
| Evraz Oregon Steel | 33 | Blast Furnaces & Steel Mills | Minor | Willamette River | OR0000451 | 101007 |
| Frank Lumber Co. Inc. | 24 | Sawmills And Planning Mills | Minor | North Santiam River | OR0000124 | 101583 |
| Fujimi Corporation | 32 | Abrasive Products | Minor | Coffee Lake Creek | OR0040339 | 103033 |
| Georgia-Pacific Millersburg Resin Plant | 28 | Plastics Materials, Synthetics | Minor | Murder Creek | OR0032107 | 102603 |
| Hollingsworth & Vose Fiber Company | 24 | Other Wood Products | Minor | Willamette River | OR0000299 | 101331 |
| Hull-Oakes Lumber Co. | 24 | Sawmills And Planning Mills | Minor | Oliver Creek | OR0038032 | 101466 |
| Kingsford Manufacturing Company - Springfield Plant | 24 | Other Wood Products | Minor | Patterson Slough | OR0031330 | 102153 |
| Murphy Veneer, Foster Division | 24 | Softwood Veneer and Plywood | Minor | Wiley Creek | OR0021741 | 101777 |
| Sanders Wood Products - Rsg Forest Products – Liberal | 24 | Sawmills And Planning Mills | Minor | Molalla River | OR0021300 | 100929 |
| Seneca Sawmill Company | 24 | Sawmills And Planning Mills | Minor | Unknown | OR0022985 | 101893 |
| Stimson Lumber Company - Forest Grove | 24 | Sawmills And Planning Mills | Minor | Scoggins Creek | OR0001295 | 101480 |
| Sunstone Circuits | 36 | Printed Circuit Boards | Minor | Milk Creek | OR0031127 | 101015 |
| Weyerhaeuser Cottage Grove Lumber | 24 | Softwood Veneer and Plywood | Minor | Coast Fork Willamette River | OR0000698 | 101449 |

# Mining activities in the WRB that are potential sources of mercury

(Table 5-7 of the “Mercury TMDL Development for the Willamette River Basin (Oregon) – Technical Support Document.”)

Table 3-10: Potential sources

| Name | County | Subbasin | Comments |
| --- | --- | --- | --- |
| Aimes-Bancroft Group | Clackamas | Clackamas River | Old structures are present. Adit (adit: a horizontal passage leading into a mine for the purposes of access or drainage) is caved. |
| Kiggins Mine (ECSI Site 3812) | Clackamas | Clackamas River | Discharge (1 GPM, pH 8.3) to Oak Grove fork of Clackamas River; flow. Mercuric oxides present in waste rock. Mill structure and other buildings present. Open adits. History of the mine is provided in O’Leary (2004). This is a CERCLA site, and a removal action of contaminated sediment was completed in 2008. |
| Nisbet Mine (ECSI Site 3811) | Clackamas | Clackamas River | Oak Grove fork of Clackamas River is eroding tailings. Old structures are still present on site. Adit is still open. History of the mine is provided in O’Leary (2004). |
| North Fork Claims | Clackamas | Clackamas River |  |
| Cheeney Creek | Clackamas | Clackamas River | Clear discharge (5 GPM, pH 8.1) to Cheeney Creek and Salmon River. Has eroded rock waste pile. Adit is open. Shaft appears caved. |
| Graham Property | Lane | Coast Fork, Willamette River |  |
| Knott Claim | Lane | Coast Fork, Willamette River |  |
| Treasure | Lane | Coast Fork, Willamette River | 4000’ of workings. Mill on-site. |
| Union | Lane | Coast Fork, Willamette River | 1200’ of workings. Mill on-site. |
| Bald Butte Prospect | Lane | Coast Fork, Willamette River |  |
| Black Butte Mine (ECSI Site 1657) | Lane | Coast Fork, Willamette River | Was a mercury mine with three mills during its operating years from 1890-1909, 1916, 1943, and 1956. Mine had two main tailing piles. The lower tailing pile was 30 feet away from Dennis Creek, which flows westerly to Garoutte Creek, which flows northerly to the Coast Fork of the Willamette River. Elevated mercury levels have been found in the sediment and in downstream Cottage Grove Reservoir. Remedial actions have been pursued and are described in the text for this section. |
| Champion & Evening Star Mine (ECSI Sites 2657 and 3659) | Lane | Coast Fork, Willamette River | Discovered in 1892 near the Champion Saddle on the divide of Champion and City Creeks. Mine had gold, silver, copper, lead, and zinc. Ore was processed in 3 mills. Mine has more than 15,000 feet of drifts and crosscuts, and about 3,000 feet of raises on 9 levels. Major years of production were from 1932 through 1939. Discolored discharge to Champion Creek (10 GPM, pH 5.5). Champion Creek flows to Brice Creek, which dumps into the Row River. No structures. ECSI says that remedial action is recommended for tailings on USFS property, while site investigation is recommended for the portion on private land. |
| Columbia Vein (ECSI Site 3169) | Lane | Coast Fork, Willamette River | Champion Creek watershed. Drainage (5 GPM, pH 7.2) not to surface water. According to ECSI, “the Site Assessment Program recommends no further action, for the following reasons: 1) there is no historical or visual evidence that ore was milled at the site, 2) there was no evidence of acid mine drainage or other impacts to surface water related to the site; and 3) there was no evidence of mill tailings on the site.” |
| Excelsior Vein | Lane | Coast Fork, Willamette River | Champion Creek watershed. Part of Champion Mine. |
| Leroy Mine (ECSI Site 3167) | Lane | Coast Fork, Willamette River | Champion Creek watershed. Most of the development work was done between 1900 and 1910. There are numerous cuts and tunnels having a total length of 1,100 feet. A large volume of material was developed which contained a low percentage of base metals. According to ECSI, “the Site Assessment Program recommends a preliminary assessment.” |
| Mayflower Mine | Lane | Coast Fork, Willamette River |  |
| Lower Musick | Lane | Coast Fork, Willamette River | Adit and dump. No structures. Discharge (10 GPM, pH~7.5) directly to Sharps Creek (tributary to Brice Creek). |
| Noonday Mine (ECSI Site 3974) | Lane | Coast Fork, Willamette River | Major producer of gold, silver, copper, and lead. Mill on-site. This mine was discovered in 1891 and produced gold, silver, copper, lead, and zinc. According to literature, there was approximately 4,000 feet of workings, three mill sites, and 7,000 tons of ore mined. According to ECSI, “ODEQ has completed a non-sampling investigation of the Noonday Mine. Based on information developed during ODEQ's evaluation, the Noonday Mine is considered a medium priority for a Preliminary Assessment.” |
| Peekaboo Mine | Lane | Coast Fork, Willamette River | Mill on-site. Not found in ECSI. |
| Pitcher Prospect | Lane | Coast Fork, Willamette River |  |
| Star Mine | Lane | Coast Fork, Willamette River | 1300’ of workings. Brice Creek watershed. |
| Sultana Mine | Lane | Coast Fork, Willamette River | 2000’ of workings. Mill on-site. Champion Creek watershed. |
| Sweepstakes | Lane | Coast Fork, Willamette River | 1000’ of workings. Champion Creek watershed. |
| 3166) | Lane | Coast Fork, Willamette River | 6000’ of workings. Mill on-site. Brice Creek watershed. The Vesuvius vein was discovered in 1895, and the passage driven to explore the vein was known as the German Tunnel. A five-stamp mill was moved in from the old Knott Mill and operated at the German Tunnel until 1902. During the same time period, the Stocks-Harlow vein was being mined, and this location also had a five-stamp mill. In 1902, both of these properties were organized into one mining company, and a new camp was built about a mile down the mountain below the German Tunnel. Near the campsite, a new passage called the Wild Hog was driven into the hillside, and a five-stamp mill was moved to this new location. In all, the entire mine’s production was considered. There is acid drainage from the mine and ECSI recommends an expanded preliminary assessment to evaluate metals in soil, sediment, and surface water. |
| Woodard Prospects | Lane | Coast Fork, Willamette River |  |
| Sullivan (Bald Butte) | Lane | Coast Fork, Willamette River |  |
| Amalgamated Mine | Marion | North Santiam River |  |
| Black Eagle Mine (ECSI site 4455) | Marion | North Santiam River | Per ECSI, the Black Eagle Mining & Milling Co. owned the mine in 1916. A small concentrator mill was used on-site. There were no signs of waste rock or tailings piles, despite the site having a small concentrator mill in 1916.” The adit was blasted shut in 2001 and the site is listed as “No further state action required.” |
| Morning Star Mine (a.k.a. Blue Jay Mine) and Ruth Mine (ECSI site 4503) | Marion | North Santiam River | Morning Star is 8.5 miles northeast of the town of Elkhorn, Oregon. The Site is situated on steep side slopes. The Site consists of an open adit with water discharge, a collapsed structure, and waste rock piles. Nearby Ruth Mine consists of two adits at the 4th and one adit at the 5th Level. Small waste rock dumps occur at the 4th Level. These mines drain to Battle Axe Creek, Ruth Creek, and Blue Jay Creek and are within the Willamette National Forest and the USFS undertook investigations and cleanup under the Federal CERCLA program. Mercury is present in waste rock but has not been identified as a contaminant of concern in water or sediment. |
| Bonanza Mine | Marion | North Santiam River |  |
| Crown Mine | Marion | North Santiam River |  |
| Silver King Mine | Marion | North Santiam River |  |
| Silver Star Mine | Marion | North Santiam River |  |
| Breitenbush Mineral Springs | Marion | Breitenbush River, North Santiam River |  |
| Bob & Betty | Linn | Quartzville Creek, Middle Santiam River | 1650’ of workings. |
| Poorman | Linn | Quartzville Creek, Middle Santiam River | Mill on-site. |
| Albany Mine | Linn | Quartzville Creek, Middle Santiam River | Gold mine first prospected in 1888. Ore was processed in 3 mills. There were approximately 1,090’ of workings. |
| Lawler | Linn | Quartzville Creek, Middle Santiam River | Discovered in 1861 on White Bull Mountain and Dry Gulch. Mine had gold, silver, lead, copper, and zinc. There were 2,000’ of workings by 1903, with four principal adit levels and numerous open cuts. |

# Record of revisions

| Revision | Date | Changes | Editor |
| --- | --- | --- | --- |
| Version 1.0 - Template creation | 3/23/2021 | Original document | Erich Brandstetter |
| Version 2.0 | 10/5/2025 | Template updated Industrial specific template added Revision history added | Emma Prichard Erich Brandstetter Rebecca Bodnar |
| Verizon 2.92 | 10/13/2025 | Formatting | D. Schick |
| Version 3.0 | 10/14/2025 | Finalized | Erich Brandstetter |