## Background and Instructions
Purpose:
The Useful Life spreadsheet needs to be completed for each project to make sure the project will not need to be replaced prior to the DEQ loan being paid off.
OAR Requirement:
OAR 340-054-0065 (8)(a) DEQ considers the useful life of the assets financed when determining loan repayment schedules.
When this requirement must be completed:
This requirement is typically completed and submitted with the final design documents. The useful life must be reviewed and approved by DEQ before a construction loan can be signed.
Instructions
Step 1 | Within the project specific worksheet (WWTP, Irrigation, Stormwater), determine non-applicable project line items. Examples of non-applicable line items include: a. Line items that are not permanent assets e.g., mobilization, traffic control plan, stormwater plan, clearing & grubbing, etc. b. Line items that are not paid for by CWSRF e.g., drinking water infrastructure if drinking water funding is provided from another source. c. Financial items such as overhead, contingencies, insurance, bonds, and engineering fees.
Step 2 | Determine and list out the total applicable project amount by subtracting all non-applicable items from the project total.
Step 3 | With the project specific worksheet (WWTP, Irrigation, Stormwater), determine which project asset type each applicable line item belongs to.
Step 4 | For the entire project, determine each asset type total cost.
Step 5 | Determine what percentage of the total applicable project amount each asset type is (asset type total/ total asset cost). For example: total applicable project amount is 3,307,000. A UV system (mechanical) is 250,000. The mechanical asset would be 7.6%.
Step 6 | Enter the percentage for each asset type that is applicable for the project in the worksheet column "% of total cost" . Note: the total of all percentages must equal 100%. A project average weighted Useful Life (in years) will be calculated; send the completed spreadsheet to DEQ for review and approval.

## Example for WWTP
|  |  | % of total cost of WWTP | AVERAGE WEIGHTED USEFUL LIFE, YR.
| ASSET TYPE | ASSET LIFE, YEARS
| civil (earthwork) | 70 | 21.43% | 34.2164
| buildings (control, lab, operations) | 40 | 3.212%
| concrete basins (water-bearing) | 50 | 8.144% |  |  | Applicant's name: Example City 1
| collection system piping | 60 | 0% |  |  | Application #: 9781
| process piping | 30 | 14.31% |  |  | Date of final UL Calculation: 04/10/2024
| mechanical equipment | 15 | 27.39%
| electrical equipment | 25 | 16.28%
| instrumentation equipment | 15 | 9.226%
|  | Total ==> | 100%
1. Determine the applicable costs. Applicable cost does not include contingency, contractor and overhead, bond and insurance, etc. In this WWTP example, the applicable cost is $4,621,670
2. Look at each line item and determine what asset type the different project assets belong to (earth work, buildings, concrete basins, collection system, process piping, mechanical equipment, electrical equipment, instrumentation equipment).
3. Determine the total amount for each asset type.
4. Determine the percentage of the total applicable project amount for each asset type
a. (asset type total/total applicable project amount) X 100.
b. In the example below for instrumentation
i. $426,388/$4,621,670 X 100= 9%
5. Enter each calculated percentage into the useful life spreadsheet. The sum of the percentages must equal 100.
Asset Type | Site work | Tertiary filter pumps | UV system | Hypo system | Recycled water PS | Hydro tank | Truck fill station | Electrical building | Electric and instruments | HRCCB upgrades | Totals | Percent of total
civil (earthwork) | 953069 | 0 | 27036 | 0 | 0 | 873 | 4311 | 5263 | 0 | 0 | 990552 | 21.43%
buildings (control, lab, operations) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 148466 | 0 | 0 | 148466 | 3.212%
concrete basins (water-bearing) | 6604 | 0 | 172943 | 0 | 86000 | 7928 | 3516 | 0 | 0 | 99379 | 376370 | 8.144%
process piping | 477158 | 48287 | 45878 | 2400 | 75263 | 11515 | 950 | 0 | 0 | 0 | 661451 | 14.31%
mechanical equipment | 0 | 60763 | 622173 | 63211 | 336736 | 73902 | 78659 | 30485 | 0 | 0 | 1265929 | 27.39%
electrical equipment | 0 | 119312 | 23645 | 3538 | 18220 | 6624 | 6840 | 16925 | 557409 | 0 | 752513 | 16.28%
instrumentation equipment | 0 | 76419 | 77244 | 8255 | 37502 | 5897 | 4788 | 0 | 216284 | 0 | 426389 | 9.226%
Total | 1436831 | 304781 | 968919 | 77404 | 553722 | 106739 | 99064 | 201139 | 773693 | 99379 | 4621671 | 100%

## WWTP Worksheet
|  | % of total cost of WWTP | AVERAGE WEIGHTED USEFUL LIFE, YR.
ASSET TYPE | ASSET LIFE, YEARS
civil (earthwork) | 70 |  | 0
buildings (control, lab, operations) | 40
concrete basins (water-bearing) | 50 |  |  | Applicant's name:
collection system piping | 60 |  |  | Application #:
process piping | 30 |  |  | Date of final UL Calculation:
mechanical equipment | 15
electrical equipment | 25
instrumentation equipment | 15
| Total ==> | 0%

## Example for Irrigation
|  | % of total cost of Facilities | AVERAGE WEIGHTED USEFUL LIFE, YR.
ASSET TYPE | ASSET LIFE, YEARS
Diversion, concrete | 30 | 5% | 76.95
Fish screen, Farmers steel | 30 | 0%
Piping, PVC | 80 | 94%
Piping, HPDE | 80 | 0%
Piping, steel | 10 | 0% |  |  | Applicant's name: XX Irrigation District
Pumps | 15 | 0% |  |  | Application #: 21758
Fittings, valves, couplings, air vac | 20 | 0% |  |  | Date of final UL Calculation: 04/11/2024
sprinkler heads | 15 | 0%
Irrigation pivot | 20 | 0%
Access road, gravel | 15 | 0%
Electrical Equipment | 25 | 1%
| Total ==> | 100%
ASSET TYPE | Piping (PVC) | Turnout | Energy Dissipators | Inlet Structure | SCADA | Totals | Percent of total
Diversion, concrete |  | 880000 | 115000 | 75600 |  | 1070600 | 4.966%
Fish screen, Farmers steel | [5 empty] | 0
Piping, PVC | 20489500 |  |  |  |  | 20489500 | 95.03%
Piping, HPDE | [5 empty] | 0
Piping, steel | [5 empty] | 0
Pumps | [5 empty] | 0
Fittings, valves, couplings, air vac | [5 empty] | 0
sprinkler heads | [5 empty] | 0
Irrigation pivot | [5 empty] | 0
Access road, gravel | [5 empty] | 0
Electrical Equipment |  |  |  |  | 133600 | 133600 | 0.6197%
Totals | [5 empty] | 21560100 | 100.6%
Note on D3: Update UL estimate for each component as appropriate if better information available or provided by vendor
Note on C4: Adjust as appropriate if different materials used, useful life on concrete diversion assumed lower than concrete for WWTP due to potential for debris damage during high flows.
Note on C6: article claiming 100 year life PVC pipe http://www.plasticsnews.com/article/20140515/NEWS/140519940/study-100-year-life-for-pvc-pipe-conservative, slightly more conservative estimate in calculations
Note on C7: Web site w/ 100 year useful life claim http://www.jmeagle.com/products/water_sewer/HDPE_irrigation_water_sewer.html; used conservative estimate of 80 years Information on HPDE pipe https://plasticpipe.org/pdf/high_density_polyethylene_pipe_systems.pdf
Note on C8: article w/ mention of steel pipe losing about 50% capacity after 15 years, used 10 year useful life for input http://igin.com/article-832-selecting-the-best-pipe-for-your-needs.html
Note on C9: well pumps, estimate Useful life at 10 years http://inspectapedia.com/water/Well_Pump_Life.php Article on golf course w/ Useful life info - pump station 15 - 20 years http://gsrpdf.lib.msu.edu/ticpdf.py?file=/article/gross-when-3-6-15.pdf Input value - used 15;w/ proper Maintenace pump life may be 20 years, used more conservative value as input.
Note on C10: Valves, fittings etc. believed more robust than sprinkler heads, 20 year UL used as input
Note on C11: article on home sprinkler system stating quality sprinkler heads 10 -15 UL, assumed irrigation district will use quality component and get 15 year Useful life out of sprinkler heads http://www.sunriseirrigationandsprinklers.com/sprinkler-systems-life-expectancy-ways-prolong/
Note on C12: based on this reference http://www.aces.edu/timelyinfo/BioSysEng/2008/October/BSEN-IRR-08-01.pdf
Note on C13: 15 year Useful Life based on this reference http://www.ohiomac.com/Newsletter/2003%20-%2003%20March.pdf

## Irrigation Worksheet
|  | % of total cost of Facilities | AVERAGE WEIGHTED USEFUL LIFE, YR.
ASSET TYPE | ASSET LIFE, YEARS
Diversion, concrete | 30 |  | Adjust %s to = 100
Fish screen, Farmers steel | 30
Piping, PVC | 80
Piping, HPDE | 80
Piping, steel | 10 |  |  | Applicant's name:
Pumps | 15 |  |  | Application #:
Fittings, valves, couplings, air vac | 20 |  |  | Date of final UL Calculation:
sprinkler heads | 15
Irrigation pivot | 20
Access road, gravel | 15
| Total ==> | 0%
Note on D3: Update UL estimate for each component as appropriate if better information available or provided by vendor.
Note on C4: Adjust as appropriate if different materials used, useful life on concrete diversion assumed lower than concrete for WWTP due to potential for debris damage during high flows.
Note on C5: Link to Farmer's fish screen info - http://farmerscreen.org/ talked to engineer w/ FCA, screens most likely part to wear out first (needing replacement) Engineer felt 25 years reasonable / somewhat conservative estimate for screen with most components lasting much longer, weighted average useful life of overall screen estimated at 30 years for useful life est.
Note on C6: article claiming 100 year life PVC pipe http://www.plasticsnews.com/article/20140515/NEWS/140519940/study-100-year-life-for-pvc-pipe-conservative, slightly more conservative estimate in calculations
Note on C7: Web site w/ 100 year useful life claim http://www.jmeagle.com/products/water_sewer/HDPE_irrigation_water_sewer.html; used conservative estimate of 80 years. more info on HPDE pipe https://plasticpipe.org/pdf/high_density_polyethylene_pipe_systems.pdf
Note on C8: article w/ mention of steel pipe losing about 50% capcity after 15 years, used 10 year useful life for input http://igin.com/article-832-selecting-the-best-pipe-for-your-needs.html
Note on C9: well pumps, estimate Useful life at 10 years http://inspectapedia.com/water/Well_Pump_Life.php Article on golf course w/ useful life info - pump station 15 - 20 years http://gsrpdf.lib.msu.edu/ticpdf.py?file=/article/gross-when-3-6-15.pdf Input value - used 15;w/ proper Maintenace pump life may be 20 years, used more conservative value as input.
Note on C10: Valves, fittings etc. believed more robust than sprinkler heads, 20 year UL used as input
Note on C11: article on home sprinkler system stating quality sprinkler heads 10 -15 UL, assumed irrigation district will use quality component and get 15 year Useful life out of sprinkler heads http://www.sunriseirrigationandsprinklers.com/sprinkler-systems-life-expectancy-ways-prolong/
Note on C12: based on this reference http://www.aces.edu/timelyinfo/BioSysEng/2008/October/BSEN-IRR-08-01.pdf
Note on C13: 15 year Useful life based on this reference. http://www.ohiomac.com/Newsletter/2003%20-%2003%20March.pdf

## Example for Stormwater
|  | % of total cost of Facilities | AVERAGE WEIGHTED USEFUL LIFE, YR.
ASSET TYPE | ASSET LIFE, YEARS
Conveyance, pipe concrete | 60 | 56% | 38
Conveyance, swale | 60
Infiltration basin | 10 | 44%
Detention / Retention basin | 30 |  |  |  | Applicant's name: City A
Bioretention basin | 30 |  |  |  | Application #: 12345
Swale, treatment | 30 |  |  |  | Date of final UL Calculation: 4/19/2024
Green Roof | 30
Porous pavement | 15
Rain garden | 30
| Total ==> | 100%
ASSET TYPE | 30" Storm Sewer | Storm Sewer Manholes | Concrete manhole control structure | Concrete curbs | Water Quality Facility | Water Quality Seedlings | Plant Materials, plugs | Irrigation System | Totals | Percent of total
Conveyance, pipe concrete | 89096 | 38160 | 14385 | 4060 |  |  |  |  | 145701 | 55.81%
Conveyance, swale
Infiltration basin |  |  |  |  | 95487 | 1935 | 7150 | 10800 | 115372 | 44.19%
Detention / Retention basin
Bioretention basin
Swale, treatment
Green Roof
Porous pavement
Rain garden
Total | [8 empty] | 261073 | 100%
Note on D3: Update UL estimate for each component as appropriate if better information available or provided by vendor or
Note on C4: Useful Life set same as WWTP collection system piping
Note on C5: Useful Life set same as collection system piping for conservative estimate, swales w/ proper maintenance should have long Useful Life
Note on C6: infiltration basins have high rate of failure, therefore low UL estimate
Note on C11: regular maintenance critical to maintain this BMP, Useful Life in this reference 15 - 20 years, 15 years used http://www.lakesuperiorstreams.org/stormwater/toolkit/paving.html

## Stormwater Worksheet
|  | % of total cost of Facilities | AVERAGE WEIGHTED USEFUL LIFE, YR.
ASSET TYPE | ASSET LIFE, YEARS
Conveyance, pipe concrete | 60 |  | Adjust %s to = 100
Conveyance, swale | 60
Infiltration basin | 10
Detention / Retention basin | 30 |  |  | Applicant's name:
Bioretention basin | 30 |  |  | Application #:
Swale, treatment | 30 |  |  | Date of final UL Calculation:
Green Roof | 30
Porous pavement | 15
Rain garden | 30
| Total ==> | 0%
Note on D3: Update Useful Life estimate for each component as appropriate if better information available or provided by vendor.
Note on C4: Useful Life set same as WWTP collection system piping.
Note on C5: Useful Life set same as collection system piping for conservative estimate, swales w/ proper maintenance should have long Useful Life
Note on C6: infiltration basins have high rate of failure, therefore low UL estimate
Note on C11: regular maintenance critical to maintain this BMP, Useful Life in this reference 15 - 20 years, 15 years used http://www.lakesuperiorstreams.org/stormwater/toolkit/paving.html