## Instructions & Definitions
Oregon Building Performance Standard ENERGY USE INTENSITY TARGET TOOL V6 as of 4-6-2026
V5 - more entry rows; cleaner tier determination logic; nontarget submetering Y/N fix; Grouped Buildings |  |  | DEFINITIONS
characterizations added, data center qualifications added; no EUIt if errors are found, accessibility fixes. |  |  | UBID: unique building identifier
Please click this link before reporting to check for updated versions of this tool on the OR BPS website. |  |  | GFA: gross floor area, measured from exterior surfaces of fixed enclosing walls, does not include outdoor bays, exterior spaces, covered
walkways,open roofed-over areas, courts, porches, terraces, steps, roof overhangs, balconies,decks, patios, driveways, parking garages,
This tool is for finding EUIt and building tiers and to be used by energy professionals, either a QP, QEM, or QEA. |  |  | or surface parking; also see notes on EUIt Sheet about areas to include for each activity type
Tier 1 - Qualified Person/QP or Qualified Energy Auditor/QEA; Tier 2 - Qualified Energy Manager/QEM or QP |  |  | ESPM: Energy Star Portfolio Manager, online software for tracking building energy use
Submit QP/QEM qualifications prior to making calculations via this form: |  |  | EUIt: energy use intensity target, the EUI value in kBtu/SF to stay below, varies based on building activity type and weekly operating hours
Form Q: Energy Professional Qualifications |  |  | Weekly Hours: total hours per week where the majority of workers are present, add the hours for two or more shifts of workers; do not include
Also see the following guidance documents for more information: |  |  | hours when occupied only by maintenance, security, cleaning crew, or other support personnel; also see notes on EUIt Sheet about hours
BPS 003 - Finding Energy Use Intensity Target |  |  | to include for each activity type
BPS 006 - Energy Professionals |  |  | Operating Factor: (aka Shift Normalization Factor) multiplier on EUIt, varies based on building activity type and weekly operating hours
BPS 009 - Grouped Buildings |  |  | Grouped Buildings: set of Tier 1 and/or Tier 2 buildings that comply at the connected or campus-level, or that comply at the complex level
and have a single shared primary function, along with any other connected buildings that are not covered buildings.
Disclaimer: This tool is provided "as-is" to be used for estimating the energy use intensity target of Oregon buildings. |  |  | Complex: a group of individual or connected buildings on contiguous property
ODOE is not liable for any misrepresentation of input or manipulation of calculations by the users of this tool. |  |  | Connected Buildings: buildings with shared energy meter(s) on contiguous property
ODOE has made this tool as accessible as possible while allowing its underlying functionality. |  |  | Contiguous Property: adjoining property sharing a common border under sole ownership
| For help using this tool, please email OregonBPS@energy.oregon.gov |  | Campus: a collection of buildings served by the same district heating, cooling, water or power system under the same owner
INSTRUCTIONS
INPUT added to yellow cells (G1-J1, C2-C9, B11-F71, other cells open when needed) |  | CALCULATED values in blue cells (D4-F4, G4-J9, G11-I71) |  | INFORMATION in green cells (K11-M71)
Step 0. | In upper left, input energy professional name and then qualification type (QEM, QP, or QEA) using the dropdown menu. If a QEM qualification type is listed but the building is Tier 1, QEM is displayed in bold & orange as an error and no EUIt is found. | Building or Group EUI Target | Overall energy use intensity target for the building is the main output from this tool. It is calculated using an area- and time-weighted average of Area or Building EUIt from column I, GFA from column D, and Months per Year from column F. May display as "No Target" if the building has a signficant amount of nontarget space. | As building activity types are selected in column C, information is displayed for each activity type's definition, along with guidance for determining floor area and weekly operating hours.
Step 1. | Choose whether this calculation is being made for a Single Building or Grouped Buildings. Row entries for a single building can be subdivided to separate areas, while grouped buildings can only be subdivided to separate buildings. If Grouped Buildings are selected, check Yes or No in the yellow boxes that show up to the right that describe the group, used to determine how the buildings are treated to assign their tiers and extend Tier 2 status. At least one of these boxes must be checked Yes for buildings to be Grouped. If both boxes say "No" they display in bold & orange as an error and no EUIt is found. | Tier / Size / Compliance Date or Max Tier / Max Size / Compliance Date | Tier, size category, and compliance date for a single building (or max tier, max size, and compliance date for a group of buildings) are secondary output values from this tool. See Tier Determination Logic below to understand how building and group tiers are assigned. Overall tier, size category, and compliance date for Grouped Buildings are based on the largest building in the group. | Column J: ESPM Building Activity Type Definition
Step 2. | Input building UBID (or UBID for each building of a group of buildings), address (or address for the largest building of the group), county, and total gross floor area (GFA) in square feet of the building or group of buildings. GFA should not include any parking garage area. The tool automatically determines climate zone based on county. | Climate Zone | Either 4C (coastal) or 5B (inland), automatically determined based on county. | Column K: Notes on Gross Floor Area
Step 3. | In column B, enter a distinct area or building name in the first empty row. (Numbers are added automatically in column A to track each distinct space.) In column C, use the drop-down menu to enter activity type for the row's area or building. Activity types can be typed in to narrow down the list of potential entries. Columns J, K & L display notes about each activity type after entry. (If notes don't display fully, enter the same activity type a second time to reset row height.) In column D, enter the gross floor area (GFA) in square feet for that row's area or building. GFA should not include any parking garage area. In column E, enter the weekly operating hours for that row's area or building, with a maximum value of 168. B23There are different operating factors for 0-50, 51-167, and 168 weekly hours for each activity type. In column F, enter how many months a year this row's area or building has this activity type and weekly operating hours. In most cases, areas or buildings function the same way all year so the maximum value of 12 is entered. If hours are not entered, "enter hours" shows up in bold & orange as an error and no EUIt is found. If GFA and months per year for each row don't combine to the GFA in cell C9, GFA check displays in bold and orange, a bold orange error message is displayed in cell G9, and no EUIt is found. | Nontarget Area | The percentage of nontarget area is calculated from the total area of any nontarget building activity types divided by the total GFA, also accounting for months per year. If nontarget area is less than 10%, it need not be included as a separate row entry for the building or group of buildings. If nontarget area is above 50%, the entire building or group of buildings is considered nontarget and no EUI Target is calculated. If nontarget area is between 10% and 50%, a yellow box becomes visible, with a dropdown for entering whether the nontarget areas are separately metered. A message displays with information about the how nontarget areas affect EUI target and OR BPS compliance requirement. | Column L: Notes on Weekly Operating Hours
Step 4. | If an area or building has a different activity type and/or number of weekly operating hours over part of the year (a number less than 12 is in column F), enter the exact same area or building name again in column B of the next consecutive row. In column C, enter the same square footage for this area or building from the row above. Enter any different activity type and+B23/or weekly operating hours for this area or building in columns D and E. In column F, enter how many months a year this area or building has this row's activity type and/or weekly operating hours. The total months from each row with the same area or building name should add up to 12. If months don't add up to 12 for any area or building name, the number of months displays in bold & orange as an error and no EUIt is found. Do not use additional line entries for schools unless they host B25some activity other than summer school during break periods. | Vacant Area | The percentage of vacant area is calculated from the total area of any vacant activity types divided by the total GFA, also accounting for months per year. Vacant area is only entered as an activity type if the vacant space uses no heating and cooling. Otherwise, use the activity type of the previous occupant. If vacant area is 50% or more of total GFA, the building or group of buildings may apply for an exemption. A message displays with information about how vacant areas affect EUI target and OR BPS compliance requirements.
Step 5. | Repeat Step 3 and Step 4 as needed for additional areas of a single building or for additional buildings in a group. There are rows for up to 21 different area or building entries. | GFA Check | Total GFA values from each row entry in column D. This value should equal the Building or Group GFA in cell C8. If not, this displays in bold & orange as an error and no EUIt is found.
Step 6. | If nontarget areas are between 10% and 50% of total GFA, cell F6 displays as a yellow box. Use the drop-down menu to indicate whether the nontarget areas have separate energy metering. | # | Column A, area or building numbers are assigned automatically and consecutively for each new area or building name entered in column B.
| If the nontarget area is a data center of activity type 100, a yellow box displays in cell F7 for its power draw. Data center kW can be found by dividing a continuous year's worth of metered electricity kWh (logged in ESPM) by 8,760 hours. | EUIt | Column G, target energy use intensity value based on building activity type in column C and climate zone in cell C7 of that row.
| To be a qualifying data center, continuous metering must measure all IT energy use including the UPS, and can also include any dedicated cooling or lighting energy use. If Data center kW power draw is not at least 75 kW, an error displays in bold & orange says it is not a qualified data center and to use a different activity type. | Operating Factor | Column H, operating value based on building activity type in column C and weekly operating hours in column E for that row. There are different values for operating hours of < 50 hours, 50-167 hours, and 168 hours.
|  | Area or Building EUIt | Column I, EUIt times Operating Factor for each row entry. Area EUIt displays for a Single Building, Building EUIt for Grouped Buildings.
|  | Area or Building Tier | Column J, tier assignment (Tier 1, Tier 2, Special Tier 2, or below threshold). For a Single Building the Area Tier is the same value for each area/row. For Grouped Buildings, the Building Tier may differ for each building/row. Below threshold means that building's GFA is too small to meet a tier classification, but its still in the set of Grouped Buildings due to shared metering.
TIER Determination Logic (Tier / Compliance Date)
For a Single Building |  |  | For Grouped Buildings
Areas are designated as Regular (Hotel, Motel, NonResidential not including Parking or Special) or Special |  |  | Buildings are designated as Regular (Hotel, Motel, NonResidential not including Special) or Special
(Multifamily, School, Hospital, University, Dormitory, Prison, Barracks, Residential Care, Senior Care) |  |  | (Multifamily, School, Hospital, University, Dormitory, Prison, Barracks, Residential Care, Senior Care)
Regulat GFA + Special GFA = Building GFA |  |  | Regular GFA + Special GFA = Group GFA
IF Building GFA < 35,000 SF AND Regular GFA < 20,000 SF THEN Not Covered |  |  | IF building Regular GFA < 20,000 SF THEN that building is Not Covered (only included if it shares metering wiith other group buildings)
IF Building GFA >= 35,000 SF AND |  |  | IF building Regular GFA >= 20,000 SF AND < 35,000 SF THEN that building is Regular Tier 2
IF Regular GFA < 20,000 SF AND Special GFA >= 15,000 SF THEN Special Tier 2 / July 1, 2028 |  |  | IF building Regular GFA >= 35,000 SF THEN that building is Tier 1
IF Regular GFA >= 20,000 SF AND Special GFA >= Regular GFA THEN Special Tier 2 / July 1, 2028 |  |  | IF largest Regular GFA of any building >= 200,000 SF THEN group compliance date is June 1, 2028
IF Regular GFA > Special GFA (less than half of Building is Special) |  |  | IF largest Regular GFA of any building >= 90,000 SF and < 200,000 SF THEN group compliance date is June 1, 2029
IF Regular GFA >= 200,000 SF, THEN Tier 1 / June 1, 2028 |  |  | IF largest Regular GFA of any building >= 35,000 SF and < 90,000 SF THEN group compliance date is June 1, 2030
IF Regular GFA >= 90,000 SF AND < 200,000 SF, THEN Tier 1 / June 1, 2029 |  |  | IF largest Regular GFA of any building >= 20,000 SF and < 35,000 SF THEN group compliance date is July 1, 2028
IF Regular GFA >= 35,000 SF AND < 90,000 SF, THEN Tier 1 / June 1, 2030 |  |  | IF building Special GFA >= 35,000 SF THEN that building is Special Tier 2
IF Regular GFA >= 20,000 SF AND < 35,000 SF, THEN Regular Tier 2 / July 1, 2028 |  |  | IF Special GFA of any building >= 35,000 SF THEN any Tier 1 building becomes Extended Tier 2 AND group compliance date becomes July 1, 2028
TIER DETERMINATION FOR SINGLE, MIXED-USE BUILDINGS |  |  | Special Tier 2: Building GFA >= 35,000 SF and
(Regular GFA < 20,000 SF and Special GFA >= 15,000 SF) or
(Regular GFA >= 20,000 SF and Special GFA >= Regular GFA)
July 1, 2028 Compliance Date
Regular Tier 2: Regular GFA >= 20,000 SF and < 35,000 SF and
Regular GFA > Special GFA
July 1, 2028 Compliance Date
Tier 1: Regular GFA >= 200,000 SF and
Regular GFA > Special GFA
June 1, 2028 Compliance Date
Tier 1: Regular GFA >= 90,000 SF and < 200,000 SF and
Regular GFA > Special GFA
June 1, 2029 Compliance Date
Tier 1: Regular GFA >= 35,000 SF and < 90,000 SF and
Regular GFA > Special GFA
June 1, 2030 Compliance Date
Not Covered
Regular GFA < 20,000 SF and
Building GFA < 35,000 SF
Regular GFA: hotel, motel & nonresidential areas excluding parking garage and special GFA.
Special GFA: multifamily, hospital, school, university, dormitory, barracks, prison, residential care, senior care areas, excluding parking garage.
20,000
35,000
90,000
200,000
15,000
35,000
Not Covered

## EUIt Sheet
OR BPS ENERGY USE INTENSITY TARGET (EUIt) TOOL |  |  |  |  | Energy Professional & Qualification:
| Determined for (dropdown): |  |  |  | Buildings have same owner & primary function, are on contiguous property: |  |  | Buildings share meters or district system:
| All UBIDs: |  |  | GROUP EUI TARGET |  | MAX TIER / SIZE CATEGORY / COMPLIANCE DATE
N/A / -- / --
| Address of Largest Building: |  | Nontarget Area = 0% | Metered separately? | No | No nontarget buildings |  |  |  | 0% | No nontarget areas | No nontarget buildings
| County: |  |  | Data center kW? | 90 |  |  |  |  | 0%
| Climate Zone: | Enter County |  | Vacant Area = 0% |  | No vacant buildings |  |  |  | 0% | No vacant areas | No vacant buildings
| Group GFA, SF: |  |  | GFA Check = 0 SF |  | OK |  |  |  | 0
# | Building Name | Activity Type (dropdown) Select ESPM Number: Type ¦ Subtype ¦ Details | GFA, ft2 | Weekly Hours | Months per Year | EUIt | Operating Factor | Building EUIt | Building Tier | ESPM Activity Type Definition | Notes on Gross Floor Area | Notes on Weekly Operating Hours
1 | [12 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0

## Lookups (hidden)
| ESPM Designations |  |  |  | EUI Target |  | Operating Factors @ weekly hours | [21 empty] | Single or Grouped |  | Building Tier (single) or Max Tier (grouped) | SF basis, sum (single) or max (grouped)
Consolidated | No. | Type | Subtype | Details | Zone 4C | Zone 5B | <=50 | 51-167 | 168 | ESPM Building Activity Type Definition | Notes on GFA | Notes on Weekly Hours | Corrections | Table 7-3 Notes | Table 7-3 Notes2 | Table 7-3 Notes3 | Table 7-1 Notes | Table 7-1 Notes 2 | Table 7-1 Notes 3 | Special Tier 2 | Industrial | Mixed Use | Notes for OR Std 100 Table 7-1 |  | Notes from OR Std 100 Table 7-3 |  | Oregon Counties | Climate Zones | [5 empty] | Tier | Size | Compliance Date |  |  |  | Special Tier 2 GFA | Regular GFA | Building GFA
1: Banking / financial services ¦ Bank branch ¦ | 1 | Banking / financial services | Bank branch |  | 53 | 55 | 0.8 | 1 | 1.5 | Commercial banking outlet that offers banking services to walk-in customers | Banking areas, vaults, lobbies, atriums, kitchens used by staff, restrooms, conference rooms, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3 | [8 empty] | 7-1 Note # | 7-1 Text | 7-3 Note # | 7-3 Text | Baker | 5B | 0 | classified as: | Not Covered | 0 |  | N/A | -- | -- |  |  |  | 35000 | 0 | 35000
2: Banking / financial services ¦ Financial office ¦ | 2 | Banking / financial services | Financial office |  | 53 | 55 | 0.8 | 1 | 1.5 | Used for financial services such as bank headquarters and securities and brokerage firms | Offices, trading floors, conference rooms and auditoriums, vaults, restrooms, kitchens used by staff, lobbies, atriums, fitness areas for staff, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3 | [8 empty] | 1 | Select the most specific building activity type that applies. | 1 | Do not count the hours when the property is occupied only by maintenance, security, the cleaning crew, or other support personnel. Do not count the hours when the property is occupied only by maintenance staff. | Benton | 4C |  |  | N/A | [8 empty] | 15000 | 20000 | 35000
3: Education ¦ Adult education ¦ | 3 | Education | Adult education |  | 48 | 49 | 0.9 | 1.1 | 1.9 | Used primarily for providing adult students with continuing education, workforce development, or professional development outside of the college or university setting. | Classrooms, administrative space, conference rooms, kitchens used by staff, lobbies, cafeterias, auditoriums, restrooms, stairways, atriums, elevator shafts, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 11 | 8 | 9 | 10 | Special Tier 2 |  |  | 2 | Building activity types are defined by AHJ in Table 7-4 and also include the following • data center: an activity space designed and equipped to meet the needs of high-density computing equipment, such as server racks, used for data storage and processing, including dedicated uninterruptible power supplies and cooling systems, and requiring a constant power load of 75 kW or more. Gross floor area shall only include space within the building, including raised floor computing space, server rack aisles, storage silos, control console areas, battery rooms, and mechanical rooms for dedicated cooling equipment. Gross floor area shall not include a server closet, telecommunications equipment closet, computer training area, office, elevator, corridors, or other auxiliary space. • urgent care center/clinic/other outpatient office: the buildings used to diagnose and treat patients, usually on an unscheduled, walk-in basis, who have an injury or illness that requires immediate care but is not serious enough to warrant a visit to an emergency department. Includes facilities that provide same-day surgical, diagnostic, and preventive care. | 2 | Working hours are based on the average use over the 12-month period selected to document energy use in Form C: Calculation of Energy Use Intensity. | Clackamas | 4C | [13 empty] | 0
4: Education ¦ College / university ¦ | 4 | Education | College / university |  | 79 | 79 | 0.9 | 1.1 | 1.9 | Buildings used for the purpose of higher education. This includes public and private colleges and universities. | Classrooms, libraries, laboratory classrooms, offices, cafeterias, maintenance facilities, arts facilities, athletic facilities, residential areas, storage rooms, restrooms, elevator shafts, and stairways. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 10 | 8 | 9 | 10 | Special Tier 2 |  |  | 3 | All medical offices considered to be diagnostic type. | 3 | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. | Clatsop | 4C | [13 empty] | 0
5: Education ¦ K-12 school ¦ Elementary / middle school | 5 | Education | K-12 school | Elementary / middle school | 39 | 40 | 0.9 | 1.1 | 1.9 | K-12 School refers to buildings or campuses used as a school for Kindergarten through 12th grade students. This does not include college or university classroom facilities/laboratories, vocational, technical, trade, adult, or continuing education schools, preschools, or day care facilities. If the school serves any of the above student populations (e.g., an elementary school that includes prekindergarten), at least 75% of students must be in grades K-12. | Classrooms, libraries, administrative space, conference rooms, restrooms, kitchens used by staff, lobbies, cafeterias, gymnasiums, auditoriums, laboratory classrooms, portable classrooms, greenhouses, stairways, atriums, elevator shafts, small landscaping sheds, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 10 | 9 | 10 |  | Special Tier 2 |  |  | 4 | Must use Section 7.2.3 method for mixed-use buildings. | 4 | The weekly hours are the hours that the majority of the building is open to serve the public. | Columbia | 4C |  | 0 | Regular SF | [8 empty] | 0 | 35000 | 35000
6: Education ¦ K-12 school ¦ High school | 6 | Education | K-12 school | High school | 43 | 44 | 0.9 | 1.1 | 1.9 | K-12 School refers to buildings or campuses used as a school for Kindergarten through 12th grade students. This does not include college or university classroom facilities/laboratories, vocational, technical, trade, adult, or continuing education schools, preschools, or day care facilities. If the school serves any of the above student populations (e.g., an elementary school that includes prekindergarten), at least 75% of students must be in grades K-12. | Classrooms, libraries, administrative space, conference rooms, restrooms, kitchens used by staff, lobbies, cafeterias, gymnasiums, auditoriums, laboratory classrooms, portable classrooms, greenhouses, stairways, atriums, elevator shafts, small landscaping sheds, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 10 | 9 | 10 |  | Special Tier 2 |  |  | 5 | Suggest considering use of Section 7.2.3 method for mixed-use buildings. | 5 | The weekly hours the facility is open for operation, which may include worship services, choir practice, administrative use, committee meetings, classes, or other activities. | Coos | 4C |  | 0 | Special SF |  |  |  | Property Type | Gross Conditioned Floor Area, SF | Tier / Compliance Date | Min SF | Compliance Date | 35000 | 35000 | 70000
7: Education ¦ Preschool / daycare ¦ | 7 | Education | Preschool / daycare |  | 60 | 60 | 0.9 | 1.1 | 1.9 | Used for educational programs or daytime supervision/recreation for young children before they attend Kindergarten. | Classrooms, libraries, administrative space, conference rooms, restrooms, kitchens used by staff, lobbies, cafeterias, gymnasiums, auditoriums, stairways, elevator shafts, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 11 | 10 |  |  | Special Tier 2 |  |  | 6 | This is a building or activity without an energy target. Included to provide definition only. | 6 | Must use Section 7.2.3 method for mixed-use buildings. | Crook | 5B |  | Tier based on activity type for Single buildings | Interim step for Grouped Buildings tier determinations | Extension of Tier 2 status to Grouped Buildings with a Special Tier 2 building in the mix | Area or Building GFA |  | Nonresidential, Hotel, or Motel | ≥ 35,000 SF and < 90,000 SF | Tier 1 / June 1, 2030 | 35000 | 2030-06-01 | 250000 | 250000 | 500000
8: Education ¦ Vocational school ¦ | 8 | Education | Vocational school |  | 48 | 49 | 0.9 | 1.1 | 1.9 | Primarily designed to teach skilled trades to students, including trade and technical schools. Typically, vocational schools are commonly post-secondary education, consisting of 1-2 years of technical/trade training | Classrooms, libraries, administrative space, conference rooms, restrooms, kitchens used by staff, lobbies, cafeterias, gymnasiums, auditoriums, laboratory classrooms, stairways, elevator shafts, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 11 | 10 |  |  | Special Tier 2 |  |  | 7 | This is a building or activity without an energy target. Follow directions for reporting in Section Z4.1(2)(d). | 7 | Health care buildings may use other weekly hours if they are required to operate building systems additional hours to protect patient and staff safety. Provide documentation of the requirement in the energy management plan. | Curry | 4C |  |  | Not Covered | Not Covered | 0 |  | Nonresidential, Hotel, or Motel | ≥ 90,000 SF and < 200,000 SF | Tier 1 / June 1, 2029 | 90000 | 2029-06-01
9: Education ¦ Other - education ¦ | 9 | Education | Other - education |  | 48 | 49 | 0.9 | 1.1 | 1.9 | Used for religious, community, or other educational purposes that do not meet the definition of any other building activity type defined in Table 7-4 (i.e. educational purposes other than adult education, college/university, K-12 school, pre-school/daycare and vocational schools). | Classrooms, libraries, administrative space, conference rooms, restrooms, kitchens used by staff, lobbies, cafeterias, auditoriums, laboratory classrooms, stairways, elevator shafts, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 11 | 10 |  |  | Special Tier 2 |  |  | 8 | Laboratories as defined by the college/university building activity type where the primary activity is for teaching practical science shall use the college/university building activity type target. College/university buildings with research laboratory building activities where the primary activities are of scientific research, measurement, and experiments are performed, can utilize building activity type 101 Laboratory for an area weighted EUIt . | 8 | Refrigerated warehouse using greater than 167 hours assumes the workers on shift are loading and/or unloading vehicles. | Deschutes | 5B |  |  | Not Covered | Not Covered | 0 |  | Nonresidential, Hotel, or Motel | ≥ 200,000 SF | Tier 1 / June 1, 2028 | 200000 | 2028-06-01
10: Entertainment / public assembly ¦ Aquarium ¦ | 10 | Entertainment / public assembly | Aquarium |  | 50 | 54 | 0.6 | 1.1 | 1.6 | Used to provide aquatic habitat primarily to live animals and which may include public or private viewing areas and educational programs. | Public and restricted areas such as visitor walkways, tank space, retail areas, restaurants, restrooms, laboratories, classrooms, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells | The weekly hours are the hours that the majority of the building is open to serve the public. Aquariums, Museums and Zoos may use other weekly hours if they are required to operate building systems additional hours to protect building contents. Provide documentation of the requirement in the energy management plan. |  | 4 | 9 | [7 empty] | 9 | Building activity type target developed at the campus-level. As an alternative to complying at the building-level, these covered commercial buildings may comply at a campuslevel with the EUIt . “Campus-level” is an alternative reporting pathway for a collection of all buildings on adjoining property with a single shared primary function that act as a single property. | 9 | Aquariums, Museums and Zoos may use other weekly hours if they are required to operate building systems additional hours to protect building contents. Provide documentation of the requirement in the energy management plan. | Douglas | 4C |  |  | Not Covered | Not Covered | 0 |  | Nonresidential, Hotel, or Motel | ≥ 20,000 SF and < 35,000 SF | Tier 2 / July 1, 2028 | 20000 | 2028-07-01
11: Entertainment / public assembly ¦ Bar / nightclub ¦ | 11 | Entertainment / public assembly | Bar / nightclub |  | 50 | 54 | 0.6 | 1.1 | 1.6 | Used primarily for social/entertainment purposes and is characterized by most of the revenue being generated from the sale of beverages instead of food. | Standing/seating areas, stage/dressing room areas, food/drink preparation or kitchen areas, retail areas, restrooms, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [8 empty] | 10 | A building with gross floor area, excluding any parking garage, that equals or exceeds 35,000 square feet and that is used as a multifamily residential building, a hospital, a school, a dormitory, or a university building is a Tier 2 building and is not required to meet the listed EUI targets. | 10 | College/university, K-12 school, Hospital (general medical and surgical) and Prison/incarceration building activity types complying at the campus-level shall apply the campus-level shift normalization factor to the area weighted aggregate EUIt. Include all space uses listed in the campus-level building activity type (college/university, K-12 school, hospital, prison) Table 7-4 definitions. For space uses not listed in the campus-level building activity type definitions, the specific space use may use their specific shift normalization factor. | Gilliam | 5B |  |  | Not Covered | Not Covered | 0 |  | Multifamily Residential, Hospital, School, Dormitory, or University | ≥ 35,000 SF | Tier 2 / July 1, 2028 | 35000 | 2028-07-01 | 0 | 20000 | 20000
12: Entertainment / public assembly ¦ Bowling alley ¦ | 12 | Entertainment / public assembly | Bowling alley |  | 82 | 88 | 0.6 | 1.1 | 1.6 | Used for public or private, recreational or professional bowling. | Bowling lanes, concession areas, restrooms, party rooms, retail areas, administrative/office space, employee break rooms, storage areas, and mechanical rooms. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [8 empty] | 10+ | Tier 2 building EUI targets are included here for use where applicable to mixed-use buildings and for reference. Future recommendations for a BPS, including specific EUI targets, for Tier 2 buildings will be determined through separate AHJ analysis and proceedings in accordance with ORS 469.287(6). | 11 | A building with gross floor area, excluding any parking garage, that equals or exceeds 35,000 square feet and that is used as a multifamily residential building, a hospital, a school, a dormitory, or a university building is a Tier 2 building and is not required to meet the listed EUI targets. | Grant | 5B |  |  | Not Covered | Not Covered | 0 | [6 empty] | 20000 | 20000 | 40000
13: Entertainment / public assembly ¦ Casino ¦ | 13 | Entertainment / public assembly | Casino |  | 50 | 54 | 0.6 | 1.1 | 1.6 | Used primarily used to conduct gambling activities including both electronic and live table games. | Main casino floor/gaming area, restaurants/bars, retail areas, administrative/office space, restrooms, mechanical rooms, storage areas, elevator shafts, and stairwells. If your Casino is in the same building as a hotel, enter a separate Hotel building activity type. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Harney | 5B |  |  | Not Covered | Not Covered | 0 | [6 empty] | 35000 | 35000 | 70000
14: Entertainment / public assembly ¦ Convention center ¦ | 14 | Entertainment / public assembly | Convention center |  | 63 | 65 | 0.6 | 1.1 | 1.6 | Used primarily for large conferences, exhibitions, and similar events. Convention centers may include a diverse variety of spaces, including large exhibition halls, meeting rooms, and concession stands. | Exhibit halls, preparation and staging areas, meeting rooms, concession stands, offices, restrooms, break rooms, security areas, elevator shafts, and stairwells. Conference facilities located within a Hotel should be included along with your Hotel building activity type details, rather than added as a separate Convention Center building activity type. Conference facilities primarily serving smaller meetings should be entered as Social/Meeting Hall. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Hood River | 5B |  |  | Not Covered | Not Covered | 0
15: Entertainment / public assembly ¦ Fitness center / health ¦ | 15 | Entertainment / public assembly | Fitness center / health |  | 82 | 88 | 0.6 | 1.1 | 1.6 | Used for recreational or professional athletic training and related activities. | Weight and cardio equipment areas, personal training areas, courts, locker rooms, restrooms, sauna and spa areas, retail areas, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Jackson | 4C |  |  | Not Covered | Not Covered | 0
16: Entertainment / public assembly ¦ Ice / curling ¦ | 16 | Entertainment / public assembly | Ice / curling |  | 82 | 88 | 0.6 | 1.1 | 1.6 | One or more ice sheets used for public or private, recreational or professional skating, hockey, or ringette. | Ice area, spectator areas, concession stands, retail areas, locker rooms, restrooms, administrative/office areas, employee break rooms, mechanical rooms, and storage areas. Larger facilities primarily serving professional or collegiate functions and with significant spectator seating (above 5,000 seats) should be entered as Indoor Arena. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Jefferson | 5B |  |  | Not Covered | Not Covered | 0
17: Entertainment / public assembly ¦ Indoor arena ¦ | 17 | Entertainment / public assembly | Indoor arena |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Used for professional or collegiate sports and entertainment events. Examples of events held in indoor arenas include basketball and hockey games, circus performances, and concerts. Indoor Arenas usually have capacities of 5,000 seats or more and are often characterized by multiple concourses and concession areas. | Court/rink space, all concourse space on which workers or guests can walk, concession areas, retail stores, restaurants, administrative/office areas, restrooms, employee break rooms, kitchens, mechanical rooms, storage areas, elevator shafts, and stairwells | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Josephine | 4C |  |  | Not Covered | Not Covered | 0
18: Entertainment / public assembly ¦ Movie theater ¦ | 18 | Entertainment / public assembly | Movie theater |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Used for public or private film screenings | Seating areas, lobbies, concession stands, restrooms, administrative/ office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Klamath | 5B |  |  | Not Covered | Not Covered | 0
19: Entertainment / public assembly ¦ Museum ¦ | 19 | Entertainment / public assembly | Museum |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Display collections to outside visitors for public viewing and enjoyment and for informational/educational purposes. | Public collection display areas, meeting rooms, classrooms, gift shops, food service areas, restrooms, administrative/office space, mechanical rooms, storage areas for collections, elevator shafts, and stairwells | The weekly hours are the hours that the majority of the building is open to serve the public. Aquariums, Museums and Zoos may use other weekly hours if they are required to operate building systems additional hours to protect building contents. Provide documentation of the requirement in the energy management plan. |  | 4 | 9 | [11 empty] | Lake | 5B |  |  | Not Covered | Not Covered | 0
20: Entertainment / public assembly ¦ Performing arts ¦ | 20 | Entertainment / public assembly | Performing arts |  | 50 | 54 | 0.6 | 1.1 | 1.6 | Used for public or private artistic or musical performances. | Seating, stage and backstage areas, food service areas, restrooms, retail areas, rehearsal studios, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Lane | 4C |  |  | Not Covered | Not Covered | 0
21: Entertainment / public assembly ¦ Race track ¦ | 21 | Entertainment / public assembly | Race track |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Used primarily to hold racing events such as vehicle races, track/field races, horse races, and/or dog-races. | Spectator viewing areas, concourse space on which workers or guests can walk, concession areas, retail stores, restaurants, restrooms, administrative/office areas, employee break rooms, mechanical rooms, storage areas, elevator shafts, and stairwells. The footprint of the race track itself should also be included in the gross floor area, along with the footprint of any staging areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Lincoln | 4C |  |  | Not Covered | Not Covered | 0
22: Entertainment / public assembly ¦ Roller rink ¦ | 22 | Entertainment / public assembly | Roller rink |  | 82 | 88 | 0.6 | 1.1 | 1.6 | Used primarily for roller-skating, inline skating/rollerblading, or skateboarding. | Rink space, concession areas, restrooms, locker rooms, retail areas, administrative/office areas, employee break rooms, mechanical rooms, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Linn | 4C |  |  | Not Covered | Not Covered | 0
23: Entertainment / public assembly ¦ Social / meeting hall ¦ | 23 | Entertainment / public assembly | Social / meeting hall |  | 63 | 65 | 0.6 | 1.1 | 1.6 | Primarily used for public or private gatherings. This may include community group meetings, seminars, workshops, or performances. Please note that there is another building activity type available, Convention Center, for large exhibition and conference facilities. | Meeting rooms, auditoriums, food service areas, restrooms, lobbies, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Malheur | 5B |  |  | Not Covered | Not Covered | 0
24: Entertainment / public assembly ¦ Stadium (closed) ¦ | 24 | Entertainment / public assembly | Stadium (closed) |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Structures with a permanent or retractable roof which are used primarily for professional or collegiate sports and entertainment events. Examples of events held in closed stadiums include baseball and football games, and concerts. Closed Stadiums usually have capacities of 25,000 seats or more and are often characterized by multiple concourses and concession areas. | Concourse space on which workers or guests can walk, concession areas, retail stores, restaurants, administrative/office areas, restrooms, employee break rooms, kitchens, mechanical rooms, storage areas, elevator shafts, and stairwells. The footprint of the playing field should also be included in the gross floor area. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Marion | 4C |  |  | Not Covered | Not Covered | 0
25: Entertainment / public assembly ¦ Stadium (open) ¦ | 25 | Entertainment / public assembly | Stadium (open) |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Structures used primarily for professional or collegiate sports and entertainment events in which the playing field is not covered and is exposed to the outside. Examples of events held in open stadiums include baseball, football, and soccer games, and concerts. Open Stadiums usually have capacities of 5,000 seats or more and are often characterized by multiple concourses and concession areas. | Concourse space on which workers or guests can walk, concession areas, retail stores, restaurants, administrative/office areas, restrooms, employee break rooms, kitchens, mechanical rooms, storage areas, elevator shafts, and stairwells. The footprint of the playing field should also be included in the gross floor area. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Morrow | 5B |  |  | Not Covered | Not Covered | 0
26: Entertainment / public assembly ¦ Swimming pool ¦ | 26 | Entertainment / public assembly | Swimming pool |  | 82 | 88 | 0.6 | 1.1 | 1.6 | Any heated swimming pools located inside a building | No GFA definition | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Multnomah | 4C |  |  | Not Covered | Not Covered | 0
27: Entertainment / public assembly ¦ Zoo ¦ | 27 | Entertainment / public assembly | Zoo |  | 50 | 54 | 0.6 | 1.1 | 1.6 | Used primarily to provide habitat to live animals and which may include public or private viewing and educational programs. | Habitats, visitor viewing areas, theaters, classrooms, food service areas, restrooms, retail stores, veterinary offices, exhibit space, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. Aquariums, Museums and Zoos may use other weekly hours if they are required to operate building systems additional hours to protect building contents. Provide documentation of the requirement in the energy management plan. |  | 4 | 9 | [11 empty] | Polk | 4C |  |  | Not Covered | Not Covered | 0
28: Entertainment / public assembly ¦ Other-entertainment / public assembly ¦ Entertainment / culture | 28 | Entertainment / public assembly | Other-entertainment / public assembly | Entertainment / culture | 88 | 91 | 0.6 | 1.1 | 1.6 | Providing entertainment and/or cultural services that do not meet the definition of any other building activity type defined in Table 7-4. | No GFA definition | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Sherman | 5B |  |  | Not Covered | Not Covered | 0
29: Entertainment / public assembly ¦ Other-entertainment / public assembly ¦ Library | 29 | Entertainment / public assembly | Other-entertainment / public assembly | Library | 38 | 40 | 0.6 | 1.1 | 1.6 | Used to store and manage collections of literary and artistic materials such as books, periodicals, newspapers, films, etc. that can be used for reference or lending. | Circulation rooms, storage areas, reading/study rooms, administrative space, kitchens used by staff, lobbies, conference rooms and auditoriums, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Tillamook | 4C |  |  | Not Covered | Not Covered | 0
30: Entertainment / public assembly ¦ Other-entertainment / public assembly ¦ Other public assembly | 30 | Entertainment / public assembly | Other-entertainment / public assembly | Other public assembly | 50 | 54 | 0.6 | 1.1 | 1.6 | Primarily used for entertainment or public gatherings that do not meet the definition of any other building activity type defined in Table 7-4. | Entertainment areas, administrative areas, and supporting areas such as storage rooms, hallways, restrooms, stairways, and maintenance areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Umatilla | 5B |  |  | Not Covered | Not Covered | 0
31: Entertainment / public assembly ¦ Other-entertainment / public assembly ¦ Recreation | 31 | Entertainment / public assembly | Other-entertainment / public assembly | Recreation | 82 | 88 | 0.6 | 1.1 | 1.6 | Primarily used for recreation that do not meet the definition of any other building activity type defined in Table 7- 4. | Recreational areas, restrooms, and supporting activities such as mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Union | 5B |  |  | Not Covered | Not Covered | 0
32: Entertainment / public assembly ¦ Other-entertainment / public assembly ¦ Social / meeting hall | 32 | Entertainment / public assembly | Other-entertainment / public assembly | Social / meeting hall | 63 | 65 | 0.6 | 1.1 | 1.6 | Primarily used for public or private gatherings. This may include community group meetings, seminars, workshops, or performances. Please note that there is another building activity type available, Convention Center, for large exhibition and conference facilities. | Meeting rooms, auditoriums, food service areas, restrooms, lobbies, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Wallowa | 5B |  |  | Not Covered | Not Covered | 0
33: Entertainment / public assembly ¦ Other - recreation ¦ | 33 | Entertainment / public assembly | Other - recreation |  | 82 | 88 | 0.6 | 1.1 | 1.6 | Primarily used for recreation that do not meet the definition of any other building activity type defined in Table 7-4. | Recreational areas, restrooms, and supporting activities such as mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Wasco | 5B |  |  | Not Covered | Not Covered | 0
34: Entertainment / public assembly ¦ Other - stadium ¦ | 34 | Entertainment / public assembly | Other - stadium |  | 88 | 91 | 0.6 | 1.1 | 1.6 | Primarily used for sporting events that do not meet the definition of any other building activity type defined in Table 7-4. | Areas for athletic activity and spectator seating, restrooms, and supporting activities such as mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Washington | 4C |  |  | Not Covered | Not Covered | 0
35: Food sales and service ¦ Bar / nightclub ¦ | 35 | Food sales and service | Bar / nightclub |  | 281 | 293 | 0.6 | 1.1 | 1.5 | Used primarily for preparation and sale of ready-to-eat food and beverages, but with secondary purposes characterized by revenue generated from social/entertainment services and associated sale of beverages instead of food. Examples include restaurants with lounges and nightclubs featuring entertainment together or separate from dining. | Kitchens, sales areas, dining areas, offices, restrooms, staff break rooms, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Wheeler | 5B |  |  | Not Covered | Not Covered | 0
36: Food sales and service ¦ Convenience store with gas station ¦ | 36 | Food sales and service | Convenience store with gas station |  | 179 | 185 | 0.5 | 0.9 | 1.3 | Co-located with gas stations and are used for the sale of a limited range of items such as groceries, toiletries, newspapers, soft drinks, tobacco products, and other everyday items. Convenience Store with Gas Station may include space for vehicle servicing and repair. | Sales floors, offices, restrooms, staff break rooms, storage areas, and vehicle repair areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [12 empty] | Yamhill | 4C |  |  | Not Covered | Not Covered | 0
37: Food sales and service ¦ Convenience store without gas station ¦ | 37 | Food sales and service | Convenience store without gas station |  | 179 | 185 | 0.5 | 0.9 | 1.3 | Used for the sale of a limited range of items such as groceries, toiletries, newspapers, soft drinks, tobacco products, and other everyday items, which are not co-located with a gas station. | Sales floors, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
38: Food sales and service ¦ Fast food restaurant ¦ | 38 | Food sales and service | Fast food restaurant |  | 308 | 326 | 0.6 | 1.1 | 1.5 | Used for the preparation and sale of ready-to-eat food. Fast Food Restaurants are characterized by a limited menu of food prepared quickly (often within a few minutes), and sometimes cooked in bulk in advance and kept hot. | Kitchens, sales areas, dining areas, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
39: Food sales and service ¦ Food sales ¦ Grocery / food market | 39 | Food sales and service | Food sales | Grocery / food market | 153 | 157 | 0.5 | 0.9 | 1.3 | Used for the retail sale of primarily food and beverage products, and which may include small amounts of preparation and sale of ready-to-eat food. Buildings where the primary business is the on-site preparation and sale of ready-to-eat food should use one of the Restaurant building activity types. | Sales floor, offices, storage areas, kitchens, restrooms, staff break rooms, and stairwells | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
40: Food sales and service ¦ Food sales ¦ Convenience store with gas | 40 | Food sales and service | Food sales | Convenience store with gas | 179 | 185 | 0.5 | 0.9 | 1.3 | Co-located with gas stations and are used for the sale of a limited range of items such as groceries, toiletries, newspapers, soft drinks, tobacco products, and other everyday items. Convenience Store with Gas Station may include space for vehicle servicing and repair. | Sales floors, offices, restrooms, staff break rooms, storage areas, and vehicle repair areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
41: Food sales and service ¦ Food sales ¦ Convenience store | 41 | Food sales and service | Food sales | Convenience store | 179 | 185 | 0.5 | 0.9 | 1.3 | Used for the sale of a limited range of items such as groceries, toiletries, newspapers, soft drinks, tobacco products, and other everyday items, which are not co-located with a gas station. | Sales floors, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
42: Food sales and service ¦ Food sales ¦ Other food sales | 42 | Food sales and service | Food sales | Other food sales | 153 | 157 | 0.5 | 0.9 | 1.3 | Used for the sales of food on either a retail or wholesale basis, but which do not meet the definition of Supermarket/Grocery Store/Food Market, Convenience Store, or Convenience Store with Gas Stations. For example, specialty food sales like a cheese shop or butcher. | Sales areas, storage areas, offices, kitchens, restrooms, and staff break rooms. | The weekly hours are the hours that the majority of the building is open to serve the public. | set at min of all Food sales ESPM Subtype listings type 39 | 4 | [16 empty] | Not Covered | Not Covered | 0
43: Food sales and service ¦ Food service ¦ Fast food | 43 | Food sales and service | Food service | Fast food | 308 | 326 | 0.6 | 1.1 | 1.5 | Used for the preparation and sale of ready-to-eat food. Fast Food Restaurants are characterized by a limited menu of food prepared quickly (often within a few minutes), and sometimes cooked in bulk in advance and kept hot. | Kitchens, sales areas, dining areas, offices, restrooms, staff break rooms, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
44: Food sales and service ¦ Food service ¦ Restaurant/ cafeteria | 44 | Food sales and service | Food service | Restaurant/ cafeteria | 325 | 340 | 0.6 | 1.1 | 1.5 | Used for preparation and sale of ready-to-eat food and beverages, but which do not fit in the fast food building activity type. Examples include fast casual, casual, and fine dining restaurants. | Kitchens, sales areas, dining areas, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
45: Food sales and service ¦ Food service ¦ Other food service | 45 | Food sales and service | Food service | Other food service | 308 | 326 | 0.6 | 1.1 | 1.5 | Used for preparation and sale of food and beverages, but which do not meet the definition of Restaurant or Bar/Nightclub. For example, a bakery or coffee shop. | Kitchens, sales areas, dining areas, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. | set at min of all Food service ESPM Subtype listings type 43 | 4 | [16 empty] | Not Covered | Not Covered | 0
46: Food sales and service ¦ Restaurant ¦ | 46 | Food sales and service | Restaurant |  | 325 | 340 | 0.6 | 1.1 | 1.5 | Used for preparation and sale of ready-to eat food and beverages, but which do not fit in the fast food building activity type. Examples include fast casual, casual, and fine dining restaurants | Kitchens, sales areas, dining areas, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
47: Food sales and service ¦ Supermarket / grocery store ¦ | 47 | Food sales and service | Supermarket / grocery store |  | 153 | 157 | 0.5 | 0.9 | 1.3 | Used for the retail sale of primarily food and beverage products, and which may include small amounts of preparation and sale of ready-to-eat food. Buildings where the primary business is the on-site preparation and sale of ready-to-eat food should use one of the Restaurant building activity types. | Sales floor, offices, storage areas, kitchens, restrooms, staff break rooms, and stairwells | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
48: Food sales and service ¦ Wholesale club / supercenter ¦ | 48 | Food sales and service | Wholesale club / supercenter |  | 153 | 157 | 0.5 | 0.9 | 1.3 | Used to conduct the retail sale of a wide variety of merchandise, typically in bulk quantities. Merchandise may include food, clothing, office supplies, furniture, electronics, books, sporting goods, toys, and hardware. | Sales floor, offices, storage areas, kitchens, restrooms, staff break rooms, elevators, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. | set at min of all Food sales ESPM Subtype listings type 39 | 4 | [16 empty] | Not Covered | Not Covered | 0
49: Food sales and service ¦ Other - restaurant / bar ¦ | 49 | Food sales and service | Other - restaurant / bar |  | 325 | 340 | 0.6 | 1.1 | 1.5 | Used for preparation and sale of ready-to-eat food and beverages, but which does not fit into the Fast Food Restaurant, Restaurant, or Bar/Nightclub building activity types. | Kitchens, sales areas, dining areas, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 | [16 empty] | Not Covered | Not Covered | 0
50: Healthcare ¦ Ambulatory surgical center ¦ | 50 | Healthcare | Ambulatory surgical center |  | 92 | 99 | 0.8 | 1.1 | 1.3 | Health care facilities that provide same-day surgical care, including diagnostic and preventive procedures. | Offices, operating and recovery rooms, waiting rooms, restrooms, employee break rooms and kitchens, elevator shafts, stairways, mechanical rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. Health care buildings may use other weekly hours if they are required to operate building systems additional hours to protect patient and staff safety. Provide documentation of the requirement in the energy management plan. |  | 4 | 7 | [15 empty] | Not Covered | Not Covered | 0
51: Healthcare ¦ Hospital ¦ | 51 | Healthcare | Hospital |  | 203 | 203 | 1 | 1 | 1 | General medical and surgical hospital (including critical access hospitals and children’s hospitals). These facilities provide acute care services intended to treat patients for short periods of time, including emergency medical care, physician's office services, diagnostic care, ambulatory care, surgical care, and limited specialty services such as rehabilitation and cancer care. The definition of Hospital does not account for all building activity types owned by the hospital that are located within the Hospital building/complex, including nonclinical spaces such as administrative offices, food service, retail, hotels, and power plant. | Operating rooms, bedrooms, emergency treatment areas, and medical offices, exam rooms, laboratories, lobbies, atriums, cafeterias, restrooms, stairways, corridors connecting buildings, storage areas, and elevator shafts | Usually 24/7 operation |  |  |  | 10, 11 | 9 | 10 |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
52: Healthcare ¦ Medical office ¦ | 52 | Healthcare | Medical office |  | 77 | 83 | 0.8 | 1.1 | 1.3 | Used to provide diagnosis and treatment for medical, dental, or psychiatric outpatient care. | Include offices, exam rooms, laboratories, lobbies, atriums, conference rooms and auditoriums, employee break rooms and kitchens, restrooms, elevator shafts, stairways, mechanical rooms, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. Health care buildings may use other weekly hours if they are required to operate building systems additional hours to protect patient and staff safety. Provide documentation of the requirement in the energy management plan. | set same as Medical Office type 72 | 4 | 7 |  | 3 | [13 empty] | Not Covered | Not Covered | 0
53: Healthcare ¦ Outpatient ¦ | 53 | Healthcare | Outpatient |  | 92 | 99 | 0.8 | 1.1 | 1.3 | Used to provide diagnosis and treatment for rehabilitation and physical therapy. | Offices, exam rooms, waiting rooms, indoor pool areas, atriums, employee break rooms and kitchens, restrooms, elevator shafts, stairways, mechanical rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. Health care buildings may use other weekly hours if they are required to operate building systems additional hours to protect patient and staff safety. Provide documentation of the requirement in the energy management plan. |  | 4 | 7 | [15 empty] | Not Covered | Not Covered | 0
54: Healthcare ¦ Residential care facility ¦ | 54 | Healthcare | Residential care facility |  | 79 | 83 | 1 | 1 | 1 | Provide rehabilitative and restorative care to patients on long-term or permanent basis. Residential Care Facilities treat mental health issues, substance abuse, and rehabilitation for injury, illness, and disabilities. This building activity type is intended for facilities that offer long-term residential care to residents of all ages who may need assistance with activities of daily living. If a facility provides nursing and assistance to seniors only, use Senior Care Community. | Individual rooms or units, wellness centers, exam rooms, community rooms, small shops or service areas for residents and visitors (e.g. hair salons, convenience stores), staff offices, lobbies, atriums, cafeterias, kitchens, restrooms, storage areas, hallways, basements, stairways, corridors between buildings, and elevator shafts. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
55: Healthcare ¦ Senior care community ¦ | 55 | Healthcare | Senior care community |  | 79 | 83 | 1 | 1 | 1 | House and provide care and assistance for elderly residents. | Individual rooms or units, wellness centers, exam rooms, community rooms, small shops or service areas for residents and visitors (e.g. hair salons, convenience stores), staff offices, lobbies, atriums, cafeterias, kitchens, restrooms, storage areas, hallways, basements, stairways, corridors between buildings, and elevator shafts. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
56: Healthcare ¦ Urgent care / clinic / other outpatient ¦ | 56 | Healthcare | Urgent care / clinic / other outpatient |  | 92 | 99 | 0.8 | 1.1 | 1.3 | Used to diagnose and treat patients, usually on an unscheduled, walk-in basis, who have an injury or illness that requires immediate care but is not serious enough to warrant a visit to an emergency department. Includes facilities that provide same-day surgical, diagnostic and preventive care. | Offices, exam rooms, waiting rooms, atriums, employee break rooms and kitchens, restrooms, elevator shafts, stairways, mechanical rooms, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. Health care buildings may use other weekly hours if they are required to operate building systems additional hours to protect patient and staff safety. Provide documentation of the requirement in the energy management plan. |  | 4 | 7 | [15 empty] | Not Covered | Not Covered | 0
57: Healthcare ¦ Other - specialty hospital ¦ | 57 | Healthcare | Other - specialty hospital |  | 203 | 203 | 1 | 1 | 1 | Long-term acute care hospitals, inpatient rehabilitation facilities, including Cancer Centers and Psychiatric and Substance Abuse Hospitals/Facilities. | Medical offices, patient rooms, laboratories, lobbies, atriums, cafeterias, restrooms, stairways, corridors connecting buildings, storage areas, elevator shafts. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
58: Lodging / residential ¦ Barracks ¦ | 58 | Lodging / residential | Barracks |  | 63 | 64 | 1 | 1 | 1 | Military facilities or educational institutions, which offer multiple accommodations for long-term residents. | Bedrooms, common areas, food service facilities, restrooms, laundry facilities, meeting spaces, exercise rooms, health club/spas, lobbies, elevator shafts, storage areas, and stairways. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
59: Lodging / residential ¦ Hotel ¦ Hotel | 59 | Lodging / residential | Hotel | Hotel | 65 | 69 | 1 | 1 | 1 | Buildings renting overnight room/ suites, typically with bath/shower and other facilities in guest rooms. Hotels typically have daily services for guests including housekeeping/laundry & front desk/ concierge. Hotel does not apply if >50% floor area is fractional ownership units like condominiums, vacation timeshares, or private residences rented on a daily or weekly basis, should be owned by single entity. Condominiums or Time Shares use the Multifamily type. | Guestrooms, halls, lobbies, atriums, food preparation and restaurant space, conference and banquet space, fitness centers/spas, laundry facilities, elevator shafts, stairways, mechanical rooms, storage areas, restrooms, employee break rooms, and back-of-house offices. | Usually 24/7 operation | [18 empty] | Not Covered | Not Covered | 0
60: Lodging / residential ¦ Hotel ¦ Motel or inn | 60 | Lodging / residential | Hotel | Motel or inn | 83 | 87 | 1 | 1 | 1 | Hotel like lodging where most rooms are entered from the exterior. | Guestrooms, halls, lobbies, atriums, food preparation and restaurant space, conference and banquet space, fitness centers/spas, laundry facilities, elevator shafts, stairways, mechanical rooms, storage areas, restrooms, employee break rooms, and back-of-house offices. | Usually 24/7 operation | [18 empty] | Not Covered | Not Covered | 0
61: Lodging / residential ¦ Multifamily housing ¦ | 61 | Lodging / residential | Multifamily housing |  | 32 | 33 | 1 | 1 | 1 | Building containing five (5) or more sleeping or dwelling units where occupants are primarily permanent in nature any pay rent to a building owner. | Living space in each unit (including occupied and unoccupied units), interior common areas (e.g. lobbies, offices, community rooms, common kitchens, fitness rooms), hallways, stairwells, elevator shafts, connecting corridors between buildings, storage areas, restrooms, and mechanical space such as a boiler room. | Usually 24/7 operation |  |  |  | 11 | 9 | 10 |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
62: Lodging / residential ¦ Prison / incarceration ¦ | 62 | Lodging / residential | Prison / incarceration |  | 100 | 105 | 1 | 1 | 1 | Federal, state, local, or private-sector buildings used for the detention of persons awaiting trial or convicted of crimes. | Holding cells, cafeterias, administrative spaces, kitchens, lobbies, atriums, conference rooms and auditoriums, fitness areas, storage areas, restrooms, stairways, and elevator shafts. | Usually 24/7 operation |  |  |  | 10 | 9 | 10 | [12 empty] | Not Covered | Not Covered | 0
63: Lodging / residential ¦ Residence hall / dormitory ¦ | 63 | Lodging / residential | Residence hall / dormitory |  | 63 | 64 | 1 | 1 | 1 | Buildings associated with educational institutions or military facilities, which offer multiple accommodations for long-term residents. | Bedrooms, common areas, food service facilities, restrooms, laundry facilities, meeting spaces, exercise rooms, health club/spas, lobbies, elevator shafts, storage areas, and stairways. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
64: Lodging / residential ¦ Residential care facility ¦ | 64 | Lodging / residential | Residential care facility |  | 79 | 83 | 1 | 1 | 1 | Provide rehabilitative and restorative care to patients on long-term or permanent basis. Residential Care Facilities treat mental health issues, substance abuse, and rehabilitation for injury, illness, and disabilities. This building activity type is intended for facilities that offer long-term residential care to residents of all ages who may need assistance with activities of daily living. If a facility provides nursing and assistance to seniors only, use Senior Care Community. | Individual rooms or units, wellness centers, exam rooms, community rooms, small shops or service areas for residents and visitors (e.g. hair salons, convenience stores), staff offices, lobbies, atriums, cafeterias, kitchens, restrooms, storage areas, hallways, basements, stairways, corridors between buildings, and elevator shafts. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
65: Lodging / residential ¦ Senior care community ¦ | 65 | Lodging / residential | Senior care community |  | 79 | 83 | 1 | 1 | 1 | Buildings that house and provide care and assistance for elderly residents. A community with only independent living should benchmark under the Multifamily building activity type. | Individual rooms or units, wellness centers, exam rooms, community rooms, small shops or service areas for residents and visitors (e.g. hair salons, convenience stores), staff offices, lobbies, atriums, cafeterias, kitchens, restrooms, storage areas, hallways, basements, stairways, corridors between buildings, and elevator shafts. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
66: Lodging / residential ¦ Other - lodging / residential ¦ | 66 | Lodging / residential | Other - lodging / residential |  | 78 | 81 | 1 | 1 | 1 | Other than multifamily residential, single family home, senior care community, residence hall/dormitory, barracks, prison/incarceration, or hotel) | Living areas, common areas, and administrative space, kitchens used by staff, lobbies, waiting areas, cafeterias, restrooms, stairways, atriums, elevator shafts, and storage areas. | Usually 24/7 operation |  |  |  | 11 | 10 |  |  | Special Tier 2 | [10 empty] | Not Covered | Not Covered | 0
67: Mixed-use ¦ Mixed-use property ¦ INPUT INDIVIDUAL SPACE TYPES | 67 | Mixed-use | Mixed-use property | INPUT INDIVIDUAL SPACE TYPES | [5 empty] | Must use Section 7.2.3 method for mixed-use buildings, area weighted EUIt based on building activity types. |  | Must use Section 7.2.3 method for mixed-use buildings. |  | 6 |  |  | 4 |  |  |  |  | Mixed Use | [8 empty] | Not Covered | Not Covered | 0
68: Office ¦ Medical office ¦ | 68 | Office | Medical office |  | 77 | 83 | 0.8 | 1.1 | 1.3 | Used to provide diagnosis and treatment for medical, dental, or psychiatric outpatient care. | Offices, exam rooms, laboratories, lobbies, atriums, conference rooms and auditoriums, employee break rooms and kitchens, restrooms, elevator shafts, stairways, mechanical rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. Health care buildings may use other weekly hours if they are required to operate building systems additional hours to protect patient and staff safety. Provide documentation of the requirement in the energy management plan. | set same as Medical Office type 72 | 4 | 7 |  | 3 | [13 empty] | Not Covered | Not Covered | 0
69: Office ¦ Office ¦ Admin / professional office | 69 | Office | Office | Admin / professional office | 50 | 52 | 0.8 | 1 | 1.5 | Used for the conduct of commercial business activities. | Offices, conference rooms and auditoriums, kitchens used by staff, lobbies, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
70: Office ¦ Office ¦ Bank / other financial | 70 | Office | Office | Bank / other financial | 53 | 55 | 0.8 | 1 | 1.5 | Financial services such as bank headquarters and securities and brokerage firms. | Offices, trading floors, conference rooms and auditoriums, vaults, kitchens used by staff, lobbies, atriums, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
71: Office ¦ Office ¦ Government office | 71 | Office | Office | Government office | 57 | 59 | 0.8 | 1 | 1.5 | Used by employees of Federal, State, County, or City Governments | Offices, conference rooms and auditoriums, kitchens used by staff, lobbies, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
72: Office ¦ Office ¦ Medical office (diagnostic) | 72 | Office | Office | Medical office (diagnostic) | 77 | 83 | 0.8 | 1.1 | 1.3 | Used to provide diagnosis and treatment for medical, dental, or psychiatric outpatient care. | Offices, exam rooms, laboratories, lobbies, atriums, conference rooms and auditoriums, employee break rooms and kitchens, restrooms, elevator shafts, stairways, mechanical rooms, and storage areas | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  |  | 3
73: Office ¦ Office ¦ Other office | 73 | Office | Office | Other office | 57 | 59 | 0.8 | 1 | 1.5 | Office that does not meet the definition of any of the other office building activity type defined in Table 7-4. | Offices, conference rooms and auditoriums, kitchens used by staff, lobbies, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
74: Office ¦ Veterinary office ¦ | 74 | Office | Veterinary office |  | 92 | 99 | 0.8 | 1.1 | 1.3 | Used for the medical care and treatment of animals. | Offices, exam rooms, waiting rooms, atriums, employee break rooms and kitchens, restrooms, elevator shafts, stairways, mechanical rooms, and storage areas | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
75: Office ¦ Other - office ¦ | 75 | Office | Other - office |  | 57 | 59 | 0.8 | 1 | 1.5 | Office that does not meet the definition of any of the other office building activity type defined in Table 7-4. | Offices, conference rooms and auditoriums, kitchens used by staff, lobbies, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
76: Public services ¦ Courthouse ¦ | 76 | Public services | Courthouse |  | 100 | 105 | 0.8 | 0.8 | 1.1 | Federal, state, or local courts, and associated administrative office space. | Temporary holding cells, chambers, kitchens used by staff, lobbies, atriums, conference rooms and auditoriums, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
77: Public services ¦ Fire station ¦ | 77 | Public services | Fire station |  | 64 | 67 | 0.8 | 0.8 | 1.1 | Used to provide emergency response services associated with fires. Fire stations may be staffed by either volunteer or full-time paid firefighters. | Office areas, vehicle storage areas, residential areas (if applicable), storage areas, break rooms, restrooms, kitchens, elevator shafts, and stairwells. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
78: Public services ¦ Library ¦ | 78 | Public services | Library |  | 38 | 40 | 0.6 | 1.1 | 1.6 | Used to store and manage collections of literary and artistic materials such as books, periodicals, newspapers, films, etc. that can be used for reference or lending. | Circulation rooms, storage areas, reading/study rooms, administrative space, kitchens used by staff, lobbies, conference rooms and auditoriums, fitness areas for staff, restrooms, storage areas, stairways, and elevator shafts. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
79: Public services ¦ Mailing center / post office ¦ | 79 | Public services | Mailing center / post office |  | 80 | 83 | 0.8 | 1.2 | 1.3 | Used as retail establishments dedicated to mail and mailing supplies. This includes U.S. Post Offices, in addition to private retailers that offer priority mail services and mailing supplies. | Retail counters, administrative space, kitchens used by staff, restrooms, lobbies, conference rooms, storage areas, stairways, and mechanical rooms | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
80: Public services ¦ Police station ¦ | 80 | Public services | Police station |  | 64 | 67 | 0.8 | 0.8 | 1.1 | Used for federal, state, or local police forces and their associated office space. | Offices, temporary holding cells, kitchens used by staff, restrooms, lobbies, atriums, conference rooms and auditoriums, fitness areas for staff, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
81: Public services ¦ Prison / incarceration ¦ | 81 | Public services | Prison / incarceration |  | 100 | 105 | 1 | 1 | 1 | Federal, state, local, or private-sector buildings used for the detention of persons awaiting trial or convicted of crimes. | Holding cells, cafeterias, administrative spaces, kitchens, restrooms, lobbies, atriums, conference rooms and auditoriums, fitness areas, storage areas, stairways, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3 |  | 10 | 9 | 10 |  | Special Tier 2
82: Public services ¦ Social / meeting hall ¦ | 82 | Public services | Social / meeting hall |  | 63 | 65 | 0.6 | 1.1 | 1.6 | Used for public or private gatherings. This may include community group meetings, seminars, workshops, or performances. Please note that there is another building activity type available, Convention Center, for large exhibition and conference facilities. | Meeting rooms, auditoriums, food service areas, restrooms, lobbies, administrative/office space, mechanical rooms, storage areas, elevator shafts, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
83: Public services ¦ Transportation terminal / station ¦ | 83 | Public services | Transportation terminal / station |  | 50 | 54 | 0.6 | 1.1 | 1.6 | Used primarily for accessing public or private transportation. This includes train stations, bus stations, airports, and seaports. These terminals include areas for ticket purchases, and embarkation/disembarkation, and may also include public waiting areas with restaurants and other concessions. | Boarding areas, waiting areas, administrative space, kitchens used by staff, restrooms, lobbies, restaurants, cafeterias, stairways, atriums, elevator shafts, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
84: Public services ¦ Other - public service ¦ | 84 | Public services | Other - public service |  | 48 | 51 | 0.8 | 1.2 | 1.3 | Used by public-sector organizations to provide public services other than those described in the available building activity types in this table (i.e. services other than offices, courthouses, drinking water treatment and distribution plants, fire stations, libraries, mailing centers or post offices, police stations, prisons or incarceration facilities, social or meeting halls, | Administrative space, kitchens used by staff, restrooms, lobbies, waiting areas, cafeterias, stairways, atriums, elevator shafts, landscaping sheds, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
85: Religious worship ¦ Worship facility ¦ | 85 | Religious worship | Worship facility |  | 50 | 54 | 0.9 | 1.7 | 1.7 | Used as places of worship. This includes churches, temples, mosques, synagogues, meetinghouses, or any other buildings that primarily function as a place of religious worship. | Primary worship area, including food preparation, community rooms, classrooms, and supporting areas such as restrooms, storage areas, hallways, and elevator shafts. | The weekly hours the facility is open for operation, which may include worship services, choir practice, administrative use, committee meetings, classes, or other activities. |  | 5
86: Retail ¦ Automobile dealership ¦ | 86 | Retail | Automobile dealership |  | 52 | 58 | 0.6 | 1 | 1.5 | Used for the sale of new or used cars and light trucks. | Sales floors, offices, conference rooms, vehicle service centers, parts storage areas, waiting rooms, staff break rooms, restrooms, hallways, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
87: Retail ¦ Convenience store with gas station ¦ | 87 | Retail | Convenience store with gas station |  | 179 | 185 | 0.5 | 0.9 | 1.3 | Co-located with gas stations and are used for the sale of a limited range of items such as groceries, toiletries, newspapers, soft drinks, tobacco products, and other everyday items. Convenience Store with Gas Station may include space for vehicle servicing and repair. | Sales floors, offices, restrooms, staff break rooms, storage areas, and vehicle repair areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
88: Retail ¦ Convenience store without gas station ¦ | 88 | Retail | Convenience store without gas station |  | 179 | 185 | 0.5 | 0.9 | 1.3 | Used for the sale of a limited range of items such as groceries, toiletries, newspapers, soft drinks, tobacco products, and other everyday items, which are not co-located with a gas station. | Sales floors, offices, restrooms, staff break rooms, and storage areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
89: Retail ¦ Enclosed mall ¦ | 89 | Retail | Enclosed mall |  | 38 | 42 | 0.6 | 1 | 1.5 | Buildings that house multiple stores, often “anchored” by one or more department stores, and with interior walkways. Most stores will not have entrances accessible from outside, with the exception of the “anchor” stores. | Retail stores, offices, food courts, restaurants, storage areas, restrooms, staff break rooms, atriums, walkways, stairwells, and mechanical rooms. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  |  | 5
90: Retail ¦ Lifestyle center ¦ Enclosed mall | 90 | Retail | Lifestyle center | Enclosed mall | 38 | 42 | 0.6 | 1 | 1.5 | Buildings that house multiple stores, often “anchored” by one or more department stores, and with interior walkways. Most stores will not have entrances accessible from outside, with the exception of the “anchor” stores. | Retail stores, offices, food courts, restaurants, storage areas, restrooms, staff break rooms, atriums, walkways, stairwells, and mechanical rooms. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  |  | 5
91: Retail ¦ Lifestyle center ¦ Other retail | 91 | Retail | Lifestyle center | Other retail | 40 | 45 | 0.6 | 1 | 1.5 | Mixed-use commercial development that includes retail stores and leisure amenities that do not meet the definition of Lifestyle Center - Retail store. | Retail stores, offices, food courts, restaurants, residential areas, storage areas, restrooms, staff break rooms, walkways, stairwells, and mechanical areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
92: Retail ¦ Lifestyle center ¦ Retail store | 92 | Retail | Lifestyle center | Retail store | 40 | 45 | 0.6 | 1 | 1.5 | Mixed-use commercial development that includes retail stores and leisure amenities, where individual retail stores typically contain an entrance accessible from the outside and are not connected by internal walkways. Lifestyle centers have an open-air design, unlike traditional enclosed malls, and often include landscaped pedestrian areas, as well as streets and vehicle parking. | Retail stores, offices, food courts, restaurants, residential areas, storage areas, restrooms, staff break rooms, walkways, stairwells, and mechanical areas. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
93: Retail ¦ Lifestyle center ¦ | 93 | Retail | Lifestyle center |  | 40 | 45 | 0.6 | 1 | 1.5 | Must use Section 7.2.3 method for mixed-use buildings, area weighted EUIt based on building activity types. | Retail stores, offices, food courts, restaurants, residential areas, storage areas, restrooms, staff break rooms, walkways, stairwells, and mechanical areas. | The weekly hours are the hours that the majority of the building is open to serve the public. | set to same as other retail type 92 | 4
94: Retail ¦ Retail store ¦ | 94 | Retail | Retail store |  | 46 | 50 | 0.6 | 1 | 1.5 | Individual stores used to conduct the retail sale of non-food consumer goods such as clothing, books, toys, sporting goods, office supplies, hardware, and electronics. Buildings containing multiple stores should be classified as enclosed mall, lifestyle center, or strip mall. | Sales areas, storage areas, offices, restrooms, staff break rooms, elevators, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
95: Retail ¦ Strip mall ¦ INPUT INDIVIDUAL SPACE TYPES | 95 | Retail | Strip mall | INPUT INDIVIDUAL SPACE TYPES | [5 empty] | Must use Section 7.2.3 method for mixed-use buildings, area weighted EUIt based on building activity types. |  | Must use Section 7.2.3 method for mixed-use buildings. | corrected 7-1 table note to call for area-weighted average | 6 |  |  | 4 |  |  |  |  | Mixed Use
96: Retail ¦ Supermarket / grocery store ¦ | 96 | Retail | Supermarket / grocery store |  | 153 | 157 | 0.5 | 0.9 | 1.3 | Used for the retail sale of primarily food and beverage products, and which may include small amounts of preparation and sale of ready-to-eat food. Buildings where the primary business is the on-site preparation and sale of ready-to-eat food should use one of the Restaurant building activity types. | Sales floor, offices, storage areas, kitchens, restrooms, staff break rooms, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
97: Retail ¦ Wholesale club / supercenter ¦ INPUT INDIVIDUAL SPACE TYPES | 97 | Retail | Wholesale club / supercenter | INPUT INDIVIDUAL SPACE TYPES | [5 empty] | Must use Section 7.2.3 method for mixed-use buildings, area weighted EUIt based on building activity types. | Sales floor, offices, storage areas, kitchens, restrooms, staff break rooms, elevators, and stairwells. | Must use Section 7.2.3 method for mixed-use buildings. |  | 6 |  |  | 4 |  |  |  |  | Mixed Use
98: Retail ¦ Other - retail / mall ¦ Enclosed mall | 98 | Retail | Other - retail / mall | Enclosed mall | 38 | 42 | 0.6 | 1 | 1.5 | Buildings that house multiple stores, often “anchored” by one or more department stores, and with interior walkways. Most stores will not have entrances accessible from outside, with the exception of the “anchor” stores. | Retail stores, offices, food courts, restaurants, storage areas, restrooms, staff break rooms, atriums, walkways, stairwells, and mechanical rooms | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4 |  |  | 5
99: Retail ¦ Other - retail / mall ¦ INPUT INDIVIDUAL SPACE TYPES | 99 | Retail | Other - retail / mall | INPUT INDIVIDUAL SPACE TYPES | [5 empty] | Must use Section 7.2.3 method for mixed-use buildings, area weighted EUIt based on building activity types. |  | Must use Section 7.2.3 method for mixed-use buildings. | corrected EUIt to zero to call for area-weighted average | 6 |  |  | 4 |  |  |  |  | Mixed Use
100: Technology / science ¦ Data center ¦ NONTARGET | 100 | Technology / science | Data center | NONTARGET | 0 | 0 | 0 | 0 | 0 | Space or building specifically designed and equipped to meet the needs of high density computing equipment, such as server racks, used for data storage and processing, including dedicated uninterruptible power supplies and cooling systems and require a constant power load of 75 kW or more. | Space within the building including raised floor computing space, server rack aisles, storage silos, control console areas, battery rooms and mechanical rooms for dedicated cooling equipment. Shall not include a server closet, telecommunications equipment closet, computer training area, office, elevator, corridors, or other auxiliary space. | Usually 24/7 operation |  |  |  |  | 6 |  |  |  | Industrial
101: Technology / science ¦ Laboratory ¦ | 101 | Technology / science | Laboratory |  | 180 | 188 | 1 | 1 | 1 | Buildings that provide controlled conditions in which scientific research, measurement, and experiments are performed or practical science is taught. | Workstations/hoods, offices, conference rooms, restrooms, storage areas, decontamination rooms, mechanical rooms, elevator shafts, and stairwells. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3 |  |  | 8
102: Technology / science ¦ Other service ¦ | 102 | Technology / science | Other service |  | 48 | 51 | 0.8 | 1.2 | 1.3 | Buildings used for science and technology related services other than Laboratories and Data Centers. | Main business activity, production areas, administrative offices, restrooms, employee | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
103: Services ¦ Personal services ¦ Health / beauty, dry cleaning, etc. | 103 | Services | Personal services | Health / beauty, dry cleaning, etc. | 48 | 51 | 0.8 | 1.2 | 1.3 | Used to sell services rather than physical goods. Examples include dry cleaners, salons, spas, etc | Sales floors, offices, storage areas, restrooms, staff break rooms, walkways, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
104: Services ¦ Repair services ¦ Repair shop | 104 | Services | Repair services | Repair shop | 45 | 48 | 0.8 | 1.2 | 1.3 | Buildings in which repair service is provided other than vehicle repair or maintenance. Examples include vehicle service or repair shops, shoe repair, jewelry repair, locksmiths, etc. | Sales floors, repair areas, workshops, offices, parts storage areas, waiting rooms, restrooms, staff break rooms, hallways, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
105: Services ¦ Repair services ¦ Vehicle service / repair shop | 105 | Services | Repair services | Vehicle service / repair shop | 46 | 49 | 0.8 | 1.2 | 1.3 | Buildings in which vehicle repair service is provided. Examples include vehicle mechanical repair, body and paint shops, muffler, brake and tire shops. | Sales floors, repair areas, workshops, offices, parts storage areas, waiting rooms, restrooms, staff break rooms, hallways, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
106: Services ¦ Repair services ¦ Vehicle storage / maintenance | 106 | Services | Repair services | Vehicle storage / maintenance | 33 | 35 | 0.8 | 1.2 | 1.3 | Buildings in which vehicle storage or maintenance service is provided. Examples include warehousing of vehicles and maintenance services such as vehicle washing/detailing. | Sales floors, maintenance areas, repair areas, workshops, offices, storage areas, waiting rooms, restrooms, staff break rooms, hallways, and stairwells | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
107: Services ¦ Other-services ¦ | 107 | Services | Other-services |  | 48 | 51 | 0.8 | 1.2 | 1.3 | Buildings in which primarily services are offered, but which does not fit into the Personal Services or Repair Services building activity type. Examples include kennels, photo processing shops, etc. | Sales floors, offices, storage areas, restrooms, staff break rooms, walkways, and stairwells. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
108: Utility ¦ Energy / power station ¦ NONTARGET | 108 | Utility | Energy / power station | NONTARGET | [5 empty] | Buildings containing machinery and/or associated equipment for generating electricity or district heat (steam, hot water, or chilled water) from a raw fuel, including fossil fuel power plants, traditional district heat power plants, combined heat and power plants, nuclear reactors, hydroelectric dams, or facilities associated with a solar or wind farm. | Power generation areas (boilers, turbines etc.), administrative space, cooling towers, kitchens used by staff, restrooms, lobbies, meeting rooms, cafeterias, stairways, elevator shafts, and storage areas (which may include fossil fuel storage tanks or bins). | Usually 24/7 operation |  |  |  |  | 7 |  |  |  | Industrial
109: Utility ¦ Other - utility ¦ NONTARGET | 109 | Utility | Other - utility | NONTARGET | [5 empty] | Used by a utility for some purpose other than general office or energy/power generation. This may include utility transfer stations or maintenance facilities. Note that an administrative office occupied by a utility should be entered as Office, and a power or energy generation plant should be entered as Energy/ Power Station | Administrative space, maintenance and equipment areas, generator rooms, kitchens used by staff, restrooms, lobbies, meeting rooms, stairways, elevator shafts, and storage areas. | Usually 24/7 operation |  |  |  |  | 7 |  |  |  | Industrial
110: Warehouse / storage ¦ Self-storage facility ¦ | 110 | Warehouse / storage | Self-storage facility |  | 23 | 29 | 0.8 | 1 | 1.4 | Buildings that are used for private storage. Typically, a single Self Storage Facility will contain a variety of individual units that are rented out for the purpose of storing personal belongings. | Individual storage units, administrative offices, security and maintenance areas, mechanical rooms, hallways, stairways, and elevator shafts. | The weekly hours are the hours that the majority of the building is open to serve the public. |  | 4
111: Warehouse / storage ¦ Distribution center ¦ | 111 | Warehouse / storage | Distribution center |  | 25 | 34 | 0.8 | 1 | 1.4 | Unrefrigerated buildings that are used for the temporary storage and redistribution of goods, manufactured products, merchandise or raw materials. Buildings that are used primarily for assembling, modifying, manufacturing, or growing goods, products, merchandise or raw material should be classified as Manufacturing Facility. | Space designed to store non-perishable goods and merchandise, offices, lobbies, stairways, restrooms, equipment storage areas, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
112: Warehouse / storage ¦ Nonrefrigerated warehouse ¦ | 112 | Warehouse / storage | Nonrefrigerated warehouse |  | 23 | 29 | 0.8 | 1 | 1.4 | Unrefrigerated buildings that are used to store goods, manufactured products, merchandise or raw materials. Buildings that are used primarily for assembling, modifying, manufacturing, or growing goods, products, merchandise or raw material should be classified as Manufacturing Facility. | Main storage rooms, administrative offices, lobbies, stairways, restrooms, equipment storage areas, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. |  | 3
113: Warehouse / storage ¦ Refrigerated warehouse ¦ | 113 | Warehouse / storage | Refrigerated warehouse |  | 76 | 79 | 1 | 1 | 1.4 | Refrigerated buildings that are used to store or redistribute perishable goods or merchandise under refrigeration at temperatures below 50 degrees Fahrenheit (10 degrees Celsius). Buildings that are used primarily for assembling, modifying, manufacturing, or growing goods, products, merchandise or raw material should be classified as Manufacturing Facility. | Temperature controlled areas, administrative offices, lobbies, stairways, restrooms, equipment storage areas, and elevator shafts. | The weekly hours are the total number of hours per week where the majority of workers are present. If there are two or more shifts of workers, add the hours. Refrigerated warehouse using greater than 167 hours assumes the workers on shift are loading and/or unloading vehicles. |  | 3 | 8
V: Vacant ¦ Not heated or cooled ¦ | V | Vacant | Not heated or cooled |  | 0 | 0 | 0 | 0 | 0 | Only use this activity type if less than 50% of building is vacant and the vacant space's heating and cooling systems are always off. EUIt is based only on non-vacant areas. Heated and/or cooled vacant spaces should input the activity type from before this vacancy.
Note on F44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on G44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on H44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on I44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on J44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on K44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on L44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on M44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 39, food sales
Note on F47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on G47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on H47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on I47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on J47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on K47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on L47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on M47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 43, food service
Note on F50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on G50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on H50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on I50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on J50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on K50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on L50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on M50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 39, food sales
Note on R50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Removing note 4, this is not going to be a mixed-use type
Note on F54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on G54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on H54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on I54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on J54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on K54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on L54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on M54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on F70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on G70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on H70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on I70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on J70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on K70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on L70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on M70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values from type 72, medical office
Note on F95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on G95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on H95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on I95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on J95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on K95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on L95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on M95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added values for type 92, other retail
Note on O97: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added note 6 to make this a mixed use type and call for reapportionment
Note on F101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Changed this to zero, mixed use building
Note on G101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Changed this to zero, mixed use building
Note on O101: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added note 6 to call for mixed-use reapportionment
Note on R103: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Added this note because it’s a laboratory space