## Classification Worksheet
Water System Treatment and Distribution Classification Worksheet |  |  |  |  | Page | 1 of 2
PWS Name: |  |  |  | Date:
PWS ID#: 41 |  | PWS Type: |  | (C,NTNC,TNC,NP/SR)
WTP Name: |  | WTP ID: |  | DWP Staff:
Classification: | WT = WD = FE =
Item |  |  |  |  | Points
Treatment system size (use population served or flow whichever is greater and round to lowest whole number)
Population Srvd | 1 pt per 10,000 (max 30), 1 if < 10,000 |  | Pop = |  | 1 to 30
Avg Day Demand | 1 pt per 1 mgd of flow (max 30), 1 if < 1 mgd |  | ADD = |  | 1 to 30
Treatment system water source
Groundwater |  |  |  | GW | 3
Surface water or Groundwater Under the Influence of Surface Water |  |  |  | SW/GU | 5
Chemical Treatment/Addition Process
| Fluoridation |  |  |  | 5
Disinfection:
|  | Ultraviolet |  |  | 2
|  | UV with Chlorine Residual |  |  | 5
|  | Ammonia/Chloramination |  |  | 3
|  | Chlorine |  |  | 5
|  | Mixed Oxidants |  |  | 7
|  | Ozonation (on-site generation) |  |  | 10
|  | Residual Maintenance |  |  | N/A | 0
pH Adjustment
| Slaked-Quicklime (Calcium Oxide) |  |  |  | 5
| Hydrated Lime (Calcium Hydroxide) |  |  |  | 4
| All others (hydrochloric acid, sodium hydroxide, sulfuric acid, sodium carbonate) |  |  |  | 1
Coagulation & Flocculation Process
| Chemical addition (1 point for each type of chemical coagulant or |  |  |  | 1 to 5
polymer added, maximum 5 points)
Rapid Mix Units
| Mechanical Mixers |  |  |  | 3
| Injection Mixers |  |  |  | 2
| In-line blender mixers (static mixers, etc.) |  |  |  | 2
Flocculation Units
| Hydraulic flocculators |  |  |  | 2
| Mechanical flocculators |  |  |  | 3
Clarification and Sedimentation Process
| Adsorption clarifier |  |  |  | 10
| Horizontal-flow (rectangular basins) |  |  |  | 5
| Horizontal-flow (round basins) |  |  |  | 7
| Up-flow solid contact sedimentation |  |  |  | 15
| Inclined-plate sedimentation |  |  |  | 10
| Tube sedimentation |  |  |  | 10
| Dissolved air flotation |  |  |  | 10
Filtration Process
| Single media filtration |  |  |  | 3
| Dual or mixed media filtration |  |  |  | 5
| Microscreens/Membrane filtration |  |  |  | 5
| Direct filtration |  |  |  | 5
| Diatomaceous earth filtration |  |  |  | 12
| Slow sand filtration |  |  |  | 5
| Cartridge/bag filters |  |  |  | 5
| Pressure or greensand filtration |  |  |  | 10
Water System Treatment and Distribution Classification Worksheet |  |  |  | 0 | Page | 2 of 2
PWS Name: | 0 |  |  | PWS ID#: 41 | 0
|  |  |  | WTP ID: | 0
Item |  |  |  |  | Points
Stability or Corrosion Control
| Slaked-Quicklime (calcium oxide) |  |  |  | 10
| Hydrated Lime (calcium hydroxide) |  |  |  | 8
| Caustic soda (sodium hydroxide) |  |  |  | 6
| Orthophosphate |  |  |  | 5
| Soda ash (sodium carbonate) |  |  |  | 4
| Aeration: Packed tower, Diffusers |  |  |  | 3
| Calcite |  |  |  | 2
| Others: sodium bicarbonate, silicates |  |  |  | 4
Other Treatment Processes
| Aeration |  |  |  | 3
| Packed tower aeration |  |  |  | 5
| Ion exchange/softening |  |  |  | 5
| Lime-soda ash softening |  |  |  | 20
| Copper sulfate treatment |  |  |  | 5
| Powdered activated carbon |  |  |  | 5
| Potassium permanganate |  |  |  | 5
| Special processes |  |  |  | 15
| Sequestering (polyphosphates) |  |  |  | 3
Residuals Disposal
| Discharge to lagoons |  |  |  | 5
| Discharge to lagoons and then raw water source |  |  |  | 8
| Discharge to raw water |  |  |  | 10
| Disposal to sanitary sewer |  |  |  | 3
| Mechanical dewatering |  |  |  | 5
| On-site disposal |  |  |  | 5
| Land application |  |  |  | 5
| Solids composting |  |  |  | 5
Facility Characteristics
Instrumentation
| The use of SCADA or similar instrumentation systems to provide data |  |  |  | 1
with no process control
| The use of SCADA or similar instrumentation systems to provide data |  |  |  | 3
with partial process control
| The use of SCADA or similar instrumentation systems to provide data |  |  |  | 5
with complete process control
Clearwell size less than average day design flow |  | CW size | (MG) = |  | 5 | 0
1 | 1 | Total Points => |  |  |  | 0
31 | 1501 | Water Treatment Classification => |  |  | WT-
56 | 15001 | Water Distribution Classification => |  |  | WD-
76 | 50001 | Filtration Endorsement Required (Yes/No) => |  |  | FE Req-
Classification of water treatment plants and distribution systems: |  |  |  | Population = | 0
WT Class |  | Points | WD Class |  | Population
Water Treatment 1 |  | 1 to 30 | Water Distribution 1 |  | 1 to 1,500
Water Treatment 2 |  | 31 to 55 | Water Distribution 2 |  | 1,501 to 15,000
Water Treatment 3 |  | 56 to 75 | Water Distribution 3 |  | 15,001 to 50,000
Water Treatment 4 |  | 76 or more | Water Distribution 4 |  | 50,001 or more
Filtration Endorsement (FE) is an additional classification that applies when a water treatment plant is classified as a
Water Treatment 2 (WT2) and uses conventional or direct filtration treatment to treat surface water or
groundwater under the influence of surface water (i.e., FE endorsement required for WT2 operators, but not WT3 or higher).
Rev. 2/15/11 EH | Rev. 8/24/16 to include FE changes - EH. |  | Rev. 10/9/18 to add WTP ID, WTP Name, and CW size - EH.