Websites to check products for 					certification to NSF/ANSI standards for 			drinking water applications

The following organizations certify chemicals and products to NSF/ANSI standards, which helps ensure that they are safe for use in drinking water systems.  Example standards include NSF/ANSI Standard 60 for chemicals and Standard 61 for components.  Various other standards exist for drinking water treatment units, such as 42 (aesthetic effects), 44 (water softeners), 53 (health effects), 55 Class A (UV systems), 58 (reverse osmosis), and 62 (distillation).

- NSF International (formerly National Sanitation Foundation)

https://www.nsf.org/certified-products-systems

- WQA – Water Quality Association Certified Products

https://wqa.org/find-products/

- UL Solutions (formerly Underwriters Laboratories)

https://productiq.ulprospector.com/en/search

- CSA Group (formerly Canadian Standards Association)

https://www.csagroup.org/testing-certification/product-listing/

- IAPMO (International Association of Plumbing and Mechanical Officials)

https://pld.iapmo.org/

- ALS-Truesdail Laboratories

https://www.truesdail.com/product-listings-search/

- Intertek/ETL

https://ramuk.intertekconnect.com/WebClients/ITS/DLP/products.nsf/$$Search?OpenForm

800 NE Oregon Street, Suite #640, Portland, OR 97232-2162, (971) 673-0405

http://healthoregon.org/dwp

Rev. November 2022