## Descriptions
Lead Service Line (LSL) Inventory Field descriptions
Black Font required for inventory and must be populated
Blue font - Useful for tap monitoring location determination - OPTIONAL
Green font - Good information for water system to know - OPTIONAL
Purple font - results are calculated by the spreadsheet using previous inputs. Do not edit.
LCRR - Lead and Copper Rule Revision (published January 15, 2021)
Fields on Inventory Tab
these are required for inventory submission
Field Name | Description
PWS ID | OR41##### - no letters at the end
PWS name | Water system name
Operator(s) submitting report | Name of person(s) submitting report
Date completed | Date completed
Service line Site ID | This is determined by and is for the water system to track records. While every effort should be made to not have this change between submittals, circumstances may dictate that it does. For example, if account number is used it might change when customer ID changes (or the meter is changed).
Location Identifier (Required for Lead and GRR status only - optional for other service lines) | This field is required when the service line status is Lead or GRR (galvanized requiring replacement) but optional for all others and is a description of the physical location of the service line. This can be the address but can also be another description (for example "2nd line east from intersection of 5th and Main" or latitude/longitude coordinates).
Service line current material | See drop down for choices by selecting cells on inventory sheet. See green (optional data) section if you want to record additional information
If galvanized, was upstream material ever lead? | See descriptions below
Service line material identification method | Method used to identify the service line material. See descriptions below. Choose from drop down on inventory sheet.
Water system main material & size | what kind of pipe is the water main supplying the service line. Include size if desired as well
Service line size | pipe diameter
Year (or range) service line installed | What year (or range of years) was the service line installed? If repairs or partial replacement include the oldest year - include other years if desired.
Water system notes | Optional field for water system to make notes if desired.
LSL status | This will auto-populate based on previous answers. A running summary is also provided at the top. If error, review information causing error.
Fields on Tap sample locations tab
This tab is optional but available for determination of sample locations
Location on Inventory (if entered in inventory column B - this is automatic based on result in next column) | Do not edit on tap sample locations tab. This is pulling data from inventory tab based on the results in next item.
Service line Site ID (must match from column A on inventory) | This needs to perfectly match one of the service lines ID's from the inventory.
collection location | Identify the sample sites within the building. This tab is designed to help track which sample locations can be used for your pool of available sample locations under LCRR.
Type of faucet | Type of faucet for this monitoring location. See descriptions below. Choose from drop down on monitoring location sheet.
Connector material to water main (i.e. goosenecks) | If possible, identify if the type of material used for the short piece of pipe that connects the water main to the service line. See descriptions below. Choose from drop down on inventory sheet.
Interior plumbing | This is the type of pipes inside the building and for this collection location. See drop down on monitoring location sheet for choices.
Is there POE/POU treatment? | Point of entry (POE)/Point of use (POU) - does this sample location have any treatment present making it non-representative of water at other locations? Ex. a filter for this sink.
Water system notes | Optional field for water system to make notes if desired.
LSL status from inventory | This is automatic based on value supplied in Service line site ID and corresponding value on inventory sheet.
Testing site tier level | Used to identify which sites to use in tap monitoring. US EPA may make changes to this criteria but this determination is based on the LCRR criteria as currently written.
Descriptions for select field options
Lead
Current service line material definitions |  | Galvanized (Iron or Steel)
Lead | lead pipe | Non-lead - Copper
Galvanized (Iron or Steel) | A pipe with a galvanized coating to service water. Pipe material under coating does not make a difference. | Non-lead - Plastic
Non-lead - Copper | copper pipe | Non-lead - Other
Non-lead - Plastic | Any plastic pipe. More details on the type of plastic can be recorded in the notes section. | Non-lead - unk - post 1985
Non-lead - Other | Material other than those listed. Suggested you record the material in notes section. | Unknown
Non-lead - unk - post 1985 | The material is unknown but records show that it was installed after December 31, 1985.
Unknown | Unknown material
Upstream service line material ever lead
Yes | Upstream is or was lead while current service line in place
No | Records indicate lead never used while current service line in place. This often includes piping directly from the well or storage tank.
Unknown | Insufficient information on previous materials while current service line in place
NA - not galvanized | Determination is only needed when service line is galvanized.
Records only
Service line material identification method definitions |  | On site inspection only
Records only | Reviewed paper or electronic records. | Both records and inspection
On site inspection only | On site inspection of the pipe material. | 0
Both records and inspection | Both records and on site inspection were used.
Type of faucet
drinking fountain | Any faucet dedicated to providing water for consumption including water bottle filling stations.
bathroom sink | Sink in a bathroom setting including locker rooms.
kitchen/handwashing sink | Any sink outside a bathroom that is reasonably able to provide water that will be used for drinking. Examples include kitchen, break room or class room sinks
Not allowed locations for LCR testing
mop sink/hose bib | Sinks or water supply at lower levels unlikely to be used for drinking water. Examples include janitorial closets or hose connections. Note: these locations should NOT be used for LCR testing.
Non-potable | A service line not used for potable water. (Ex. fire suppression or irrigation use only)
Connector type definitions
Lead
Previously Lead
Non-lead
N/A | Water system does not have water mains. The service line comes directly from water source or storage.
Unknown
Interior plumbing types
Lead
Copper
Copper w/Lead solder
CPVC
Pex
Galvanized
Other | Anything not listed before. Recommend to include in water system notes.
Unknown | Unknown material

## Inventory
Lead Service Line (LSL) Inventory | [6 empty] | revision October 2023
PWS ID (OR41#####) |  |  | color key | Summary
PWS name |  |  | Black - required | Lead | GRR | Unknown | Non-Lead | Error* | Total
Operator submitting report |  |  | Green: OPTIONAL | 0 | 0 | 0 | 0 | 0 | 0
Date completed |  |  | Purple: calculated by spreadsheet - do not edit |  | GRR=Galvanized requiring replacement |  |  | * resolve all errors prior to submission
Submit file to: | DWP.DMCE@odhsoha.oregon.gov
| Required for Lead service line inventory |  |  |  | OPTIONAL |  |  |  | Calculated by spreadsheet - do not edit
Service line Site ID | Location Identifier (Required for Lead and GRR status only - optional for other service lines) | Service line current material | If galvanized, was upstream material ever lead? | Service line material identification method | Service line size | Year (or range) service line installed | Water system notes |  | LSL status
Example: | 123 Example Way | Non-lead - UNK - after 1985 | No | Records only |  | 1988-1990 |  |  | Example - not included in count
end of dropdown values. If more rows needed, please copy next row and insert above this line.
If more rows needed, use row above for template row.

## Replacement Plan
Replacement plan format TBD
Note: not needed if 100% of service lines are non-lead
The following requirements (found in the OAR) will need to be answered regarding Lead, GRR and unknown service lines:
1 | A strategy for determining the composition of lead status unknown service lines in its inventory
2 | A procedure for conducting full lead service line replacement
3 | A strategy for informing customers before a full or partial lead service line replacement
4 | A procedure for customers to flush service lines and premise plumbing of particulate lead
5 | A lead service line replacement prioritization strategy based on factors including but not limited to the targeting of known lead service lines, lead service line replacement for disadvantaged consumers and populations most sensitive to the effects of lead
6 | A funding strategy for replacing lead service lines which considers ways to accommodate customers that are unable to pay to replace the portion they own
7 | For systems that serve more than 10,000 people, a lead service line replacement goal rate as approved by OHA

## Methodology
Inventory Methodology
PWS Name:
PWSID:
Date:
Purpose of this worksheet: For water systems to document the methods and resources they used to develop and update their inventory.
Part 1: Historical Records Review
Type of Record |  | Describe the Records Reviewed for Your Inventory and Indicate Your Level of Confidence (e.g., Low, Medium, or High)
1. Previous Materials Evaluation Example: Locations of Tier 1 lead tap sampling locations that are served by a lead service line.
2. Construction Records and Plumbing Codes Examples: Local ordinance adopting an international plumbing code. Permits for replacing lead service lines.
3. Water System Records Examples: Capital improvement plans. Standard operating procedures. Engineering standards.
4. Distribution System Inspections and Records Examples: Distribution system maps. Tap cards. Service line repair/replacement records. Inspection records. Meter installation records.
5. Other Records
Part 2: Identifying Service Line Material During Normal Operations
1. During which normal operating activities are you collecting information on service line material? Check all that apply.
| Water meter reading | Water main repair or replacement
| Water meter repair or replacement | Backflow prevention device inspection
| Service line repair or replacement | Other
If "Other", please explain:
2. Did you develop or revise standard operating procedures to collect service line material information during normal operation? |  |  | Select "Yes" or "No"
If "Yes", please describe:
Part 3: Service Line Investigations
1. Identify the service line investigation methods your system used to prepare the inventory (check all that apply). If a water system chooses an investigation method not specified by the state under 40 CFR §141.84(a)(3)(iv), state approval is required. Note that investigations are not required by the LCRR but can be used by systems to assess accuracy of historical records and gather information when service line material is unknown.
| Visual Inspection at the Meter Pit | Water Quality Sampling - Other
| Customer Self-Identification | Mechanical Excavation
| CCTV Inspection at Curb Box - External | Vacuum Excavation
| CCTV Inspection at Curb Box - Internal | Statistical/Predictive Modeling
Other
If "Other", please explain:
2. If "Statistical/Predictive Modeling", please briefly describe the model and inputs used:
3. How did you prioritize locations for service line materials investigations? For example, did you consider environmental justice and/or sensitive populations, did you use predictive modeling, and/or did you target areas with high number of unknowns?

## Optional tap sample locations
Lead and copper tap sampling location determination (Optional) | [6 empty] | revision October 2023
PWS ID (OR41#####)
PWS name
|  |  | Useful for tap monitoring location determination - OPTIONAL |  |  |  | OPTIONAL | Calculated by spreadsheet - do not edit
Location on Inventory (if entered in inventory column B - this is automatic based on result in next column) | Service line Site ID (must match from column A on inventory) | collection location | Type of faucet | Connector material to water main (i.e. goosenecks) | Interior plumbing material | Is there POE/POU treatment on this location? | Water system notes | LSL status from inventory | Testing site tier level (TBD)
123 Example Way | Example: | room 122 sink #1 | drinking fountain | Non-lead | CPVC | No |  | Example - not included in count | Example | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
[10 empty] | #N/A | #N/A | #N/A | #N/A
end of dropdown values. If more rows needed, please copy next row and insert above this line.
[10 empty] | #N/A | #N/A | #N/A | #N/A
If more rows needed, use row above for template row.