## Sheet1
QUANTITY | ITEM | RESTOCK LOCATION
Drawer 1 - IV supplies
3 | 24 g IV - length 0.56 in
3 | 24 g IV - length 0.75 in
3 | 22g IV
3 | ChloraPrep One-Step
3 | Nasal Atomizer
2 | Blood Culture Bottle
2 | Blood Culture FEMALE Transfer Device
2 | Lancet: Heel
2 | Lancet: Finger
2 | Heel Warmer
2 | Pediatric J-Loop
3 | IV Start Kit
2 | Lab Tubes - Mini GREEN
2 | Lab Tubes - Mini LAVENDER
3 | 21g Butterfly Vacutainer
3 | 23g Butterfly Vacutainer
3 | 25g Butterfly Vacutainer
3 | ARM BOARDS: 1 of EACH Small/Medium/Large
3 | 10mL syringe
5 | 5mL syringe
5 | 3mL syringe
5 | 1mL syringe
5 | 3mL NS flush
2 | 2" Kling roll
2 | Tegaderm IV Advanced Pediatric
Drawer 2 - BP, O2 SAT, Monitor Cables. Comfort
1 | BP cuff INFANT
1 | BP cuff CHILD
1 | BP cuff SMALL ADULT
1 | BP cuff Neo 2
1 | BP cuff Neo 3
1 | BP cuff Neo 4
1 | BP cuff 5
1 | Blood Pressure Monitoring Cable NEONATES
1 | Cardiac cable (for infant 3-lead)
2 | Neonatal Monitoring Electrodes
2 | Neonatal O2 Sensor
2 | Temp Probe: LAMP
2 | Accutemp Plus Probe Cover
2 | Rectal Thermometer
5 | Lube
1 | Pacifier
4 | Sweet-Ease
Drawer 3 - O2 Cannulas, Suction, IO Supplies
1 | Pediatric Colorimetric CO2 Detector
1 | Pediatric Nasal Cannula w/ ECO2
1 | Pediatric Nasal Cannula
1 | Infant Nasal Cannula
10 | Cannula Sticker
2 | 8Fr Suction Catheter
2 | BBG Nasal Aspirator/Suction
5 | 3mL Nasal Saline
1 | Yankauer - Adult
1 | Yankauer - 12Fr Pediatric
2 | IO Needle - 25mm (BLUE)
2 | IO Needle - 15mm (PINK)
2 | 15g IO Needle (manual)
2 | 18g IO Needle (manual)
2 | ChloraPrep 10mL Wand
1 | Pressure Bag
1 | 0.9% NS 250mL Bag
1 | 0.9% NS 500mL Bag
2 | Syringe Smallbore Ext Set Tubing
2 | IV tubing
Drawer 4 - Central Lines, Bougie
1 | 4Fr Central Venous Tray
1 | 7Fr Triple Lumen Central Line tray
1 | Sterile Gown
3 | Face Mask with Shield
3 | Bouffant Hat
2 | 5Fr Micro-introducer Kit
1 | Mepore Film 10 x 12cm LARGE
1 | Mepore Film 6 x 7 cm SMALL
2 | Benzoin Tincture
2 | BioPatch
5 | Positive Pressure Cap
1 | ChloraPrep 26mL Wand
1 | Sterile US Probe Cover
1 | Disposable Infant Thermal Transport Mattress
1 | Pneumothroax Set Cook 9Fr
1 | Pediatric Bougie