Oregon Military Department

Quarterly Workplace Safety Inspection

Location:                                                        Date:                                            Prepared By:

Yes No N/A          					 	  	 RECORD KEEPING/TRAINING

☐  ☐  ☐ 1) Are minutes of committee meeting kept and made 
	available?

☐  ☐  ☐ 2) Is adequate safety training provided for employees and records made available?

HOUSEKEEPING

☐  ☐  ☐	3) Are all areas kept clean, sanitary and orderly?

☐  ☐  ☐	4) Is fire equipment, exits, stairways, aisles and
electrical panels accessible and not blocked?

PERSONAL PROTECTIVE EQUIPMENT

☐  ☐  ☐	5) Is correct PPE available and being used?

☐  ☐  ☐	6) Is all required PPE functional and in good repair?

☐  ☐  ☐	7) Is PPE being stored properly when not in use?

☐  ☐  ☐	8) Is fall arrest system in place and being used?

☐  ☐  ☐	9) Is protection against excessive exposure to
occupational noise provided?

MEDICAL/FIRST AID

☐  ☐  ☐    10) Are adequate first aid kits available and
accessible to each work area?

☐  ☐  ☐	11) Are adequate means provided for flushing of
the eyes in areas where corrosive materials are handled?

☐  ☐  ☐	12) Are installed AED’s accessible and inspected regularly?

PORTABLE LADDERS

☐  ☐  ☐	13) Are all ladders maintained in good condition
and non-slip safety feet installed on each ladder?

LOCKOUT/TAGOUT

☐  ☐  ☐	14) Are correct lockout/tagout procedures in place?

☐  ☐  ☐	15) Are suspended loads on potential energy (such as compressed springs, hydraulics, or jacks) controlled to prevent hazards?

ELECTRICAL SAFETY

☐  ☐  ☐ 16) Are switches and circuit breakers clearly labeled to indicate their use or equipment served?

☐  ☐  ☐	17) Are portable/fixed electrical tools and equipment grounded or of the double insulated type and are cords in good condition?

☐  ☐  ☐	18) Do extension cords have a grounded conductor and are they free of splices or electrical tape and are not being used in lieu of permanent wiring?

☐  ☐  ☐	19) Are junction boxes, MCC Cabinets and breaker panels closed with no open breaker knockouts?

☐  ☐  ☐	20) Are GFCI outlets installed where needed?

☐  ☐  ☐	21) Receptacles and/or face plates are not broken?

☐  ☐  ☐	22) Surge suppressors are not “daisy chained”?

☐  ☐  ☐ 23) Are doors and passageways that are neither exits nor access to exits and which could be mistaken for exits appropriately marked “NOT AN EXIT”, STOREROOM” etc.?

☐  ☐  ☐ 24) Are emergency/exit lights working and tested?

AISLES/WALKWAYS/WORK SURFACES 
☐  ☐  ☐ 25) Are aisle widths maintained at a minimum of 
22-28 inches and emergency exit routes widths maintained at 28 inches and kept clear?

☐  ☐  ☐ 26) Are floor openings, floor holes and pits covered or otherwise guarded?

AISLES/WALKWAYS/WORK SURFACES (Cont’d)

Yes No N/A

☐  ☐  ☐ 27) Are standard railings provided wherever aisle, walkways, open
side of exposed stairs or raised workstations are elevated more that 30 inches above the ground or any adjacent floor?

☐  ☐  ☐ 28) Are there items stored within 24” of the ceiling? 18” if there are

sprinklers.

CONFINED SPACES

☐  ☐  ☐ 29) Have all confined spaces been clearly labeled?

MACHINE GUARDING/HAND TOOLS

☐  ☐  ☐ 30) Is machinery, including grinders, saws and portable electric/pneumatic tools provided with appropriate safety guards and are they properly adjusted?

☐  ☐  ☐ 31) Are all portable and hand tools in good condition?

CHEMICALS

☐  ☐  ☐ 32) Are there Safety Data Sheets (SDS) readily available for each hazardous substance?

☐  ☐  ☐ 33) Is there a copy of the HazCom Policy available on-site with a list of hazardous substances?

☐  ☐  ☐ 34) Are operating procedures readily available to employees who work in or maintain a chemical process?

☐  ☐  ☐ 35) Are hazardous materials properly stored?

☐  ☐  ☐ 36) Are containers of hazardous materials appropriately labeled, including secondary containers?

FIRE PROTECTION AND PREVENTION

☐  ☐  ☐ 37) Are employees annually instructed in proper use of portable fire extinguishers and fire protection procedures?

☐  ☐  ☐ 38) Are portable fire extinguishers provided in adequate number and type (mounted and locations marked every 75 feet or within 50 feet of a known source)? Are visible signs posted at each fire extinguisher location?

☐  ☐  ☐ 39) Are all fire extinguishers inspected and maintained regularly?

☐  ☐  ☐ 40) Is the fire alarm system tested at least annually?

☐  ☐  ☐ 41) Is the kitchen hood ventilation/fire suppression system functional and inspected at least quarterly?

☐  ☐  ☐ 42) Are storage cabinets used to hold flammable liquids of the proper type and are they labeled?

☐  ☐  ☐ 43) Do automatically closing doors (if installed) on flammable storage cabinets function properly?

☐  ☐  ☐ 44) Are covered metal waste cans used for oily rags and paint soaked waste?

☐  ☐  ☐ 45) Are electrical equipment parts, which normally produce arcs, sparks or flames enclosed and separated from all combustible materials?

WELDING/COMPRESSED GAS STORAGE

☐  ☐  ☐ 46) Are only trained and authorized personnel permitted to use welding, cutting or brazing equipment?

☐  ☐  ☐ 47) Are gages turned off when not in use?

☐  ☐  ☐ 48) Are cylinders properly stored and secured?

☐  ☐  ☐ 49) Are valve handles open to drain lines?

PLEASE COMPLETE INSPECTION REPORT ON REVERSE PAGE

Location: ______________________________________________Date: ________________Prepared by: ____________________________________

| Observation |  |  |  |  |  | Action and Follow-up |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Item, Location and Hazard(s) | Recommended Action | Priority |  |  | Responsible Person | Action Taken | Estimated Completion | Done? |
|  |  |  | A | B | C |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ☐ |
|  |  |  |  |  |  |  |  |  | ☐ |
|  |  |  |  |  |  |  |  |  | ☐ |
|  |  |  |  |  |  |  |  |  | ☐ |
|  |  |  |  |  |  |  |  |  | ☐ |
|  |  |  |  |  |  |  |  |  | ☐ |
| Copies to: ☐ Supervisor ☐ Safety Committee Chair ☐ AGP Safety Manager |  |  |  |  |  |  |  |  |  |