## Slide 1: 2023 TFL Symposium
Hot Topic’s

## Slide 2: This session will include:
Minor changes to the Structure Protection Plan
Using sprinklers on structures
The capabilities of your Task Force
Our Mission vs. Mission Drift

## Slide 3: Changes to the Structure Protection Plan

## Slide 4: Using Sprinklers on Structures
Consider only after SURFACE PREP and FULL PREP has been obtained
1-Mark 3 pump will supply 4 sprinkler kits with 4 heads each
Is there enough hose/kits for the incident?
Think about teardown and backhaul

## Slide 5: The capabilities of your Task Force
County Task Forces vs Mixed County Task Forces
Training, Experience, Qualifications, etc.
Rapid Team Building
Same Terminology
Equipment; hose, fittings, appliances
Squirrel Channels
Training Oppertunities

## Slide 6: Our Mission vs. Mission Drift
Delegation of Authority
Structure Protection
Fire District Boundary
Initial Attack Responsibility

## Slide 7: THE END